Model documentation

Timestamp (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | SecondSinceEpoch | UInt32 |  |
|  | FractionOfSecond | UInt32 |  |
|  | TimeQuality | TimeQuality |  |

TimeQuality (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | LeapSecondsKnown | Boolean |  |
|  | ClockFailure | Boolean |  |
|  | ClockNotSynchronized | Boolean |  |
|  | TimeAccuracy | SByte |  |

Quality (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | validity | ValidityKind |  |
|  | detailQual | DetailQual |  |
|  | source | SourceKind |  |
|  | test | Boolean |  |
|  | operatorBlocked | Boolean |  |

DetailQual (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | overflow | Boolean |  |
|  | outOfRange | Boolean |  |
|  | badReference | Boolean |  |
|  | oscillatory | Boolean |  |
|  | failure | Boolean |  |
|  | oldData | Boolean |  |
|  | inconsistent | Boolean |  |
|  | inaccurate | Boolean |  |

TrgOps (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | data-change | Boolean |  |
|  | quality-change | Boolean |  |
|  | data-update | Boolean |  |
|  | integrity | Boolean |  |
|  | general-interrogation | Boolean |  |

OptFlds (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | sequence-number | Boolean |  |
|  | report-time-stamp | Boolean |  |
|  | reason-for-inclusion | Boolean |  |
|  | data-set-name | Boolean |  |
|  | data-reference | Boolean |  |
|  | buffer-overflow | Boolean |  |
|  | entryID | Boolean |  |
|  | conf-revision | Boolean |  |
|  | segmentation | Boolean |  |

SvOptFlds (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | refresh-time | Boolean |  |
|  | reserved | Boolean |  |
|  | sample-rate | Boolean |  |
|  | data-set-name | Boolean |  |
|  | sample-mode | Boolean |  |
|  | synch-source-identity | Boolean |  |

Check (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | synchrocheck | Boolean |  |
|  | interlockCheck | Boolean |  |

StepControlKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | stop |  |  |
|  | lower |  |  |
|  | higher |  |  |
|  | reserved |  |  |

DpStatusKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | intermediate-state |  |  |
|  | off |  |  |
|  | on |  |  |
|  | bad-state |  |  |

SourceKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | process |  |  |
|  | substituted |  |  |

ValidityKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | good |  |  |
|  | invalid |  |  |
|  | reserved |  |  |
|  | questionable |  |  |

AddCauseKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Unknown |  |  |
|  | Not-supported |  |  |
|  | Blocked-by-switching-hierarchy |  |  |
|  | Select-failed |  |  |
|  | Invalid-position |  |  |
|  | Position-reached |  |  |
|  | Parameter-change-in-execution |  |  |
|  | Step-limit |  |  |
|  | Blocked-by-Mode |  |  |
|  | Blocked-by-process |  |  |
|  | Blocked-by-interlocking |  |  |
|  | Blocked-by-synchrocheck |  |  |
|  | Command-already-in-execution |  |  |
|  | Blocked-by-health |  |  |
|  | 1-of-n-control |  |  |
|  | Abortion-by-cancel |  |  |
|  | Time-limit-over |  |  |
|  | Abortion-by-trip |  |  |
|  | Object-not-selected |  |  |
|  | Object-already-selected |  |  |
|  | No-access-authority |  |  |
|  | Ended-with-overshoot |  |  |
|  | Abortion-due-to-deviation |  |  |
|  | Abortion-by-communication-loss |  |  |
|  | Blocked-by-command |  |  |
|  | None |  |  |
|  | Inconsistent-parameters |  |  |
|  | Locked-by-other-client |  |  |

ServiceNameKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Unknown |  |  |
|  | Associate |  |  |
|  | Abort |  |  |
|  | Release |  |  |
|  | GetServerDirectory |  |  |
|  | GetLogicalDeviceDirectory |  |  |
|  | GetAllDataValues |  |  |
|  | GetDataValues |  |  |
|  | SetDataValues |  |  |
|  | GetDataDirectory |  |  |
|  | GetDataDefinition |  |  |
|  | GetDataSetValues |  |  |
|  | SetDataSetValues |  |  |
|  | CreateDataSet |  |  |
|  | DeleteDataSet |  |  |
|  | GetDataSetDirectory |  |  |
|  | SelectActiveSG |  |  |
|  | SelectEditSG |  |  |
|  | SetEditSGValue |  |  |
|  | ConfirmEditSGValues |  |  |
|  | GetEditSGValue |  |  |
|  | GetSGCBValues |  |  |
|  | Report |  |  |
|  | GetBRCBValues |  |  |
|  | SetBRCBValues |  |  |
|  | GetURCBValues |  |  |
|  | SetURCBValues |  |  |
|  | GetLCBValues |  |  |
|  | SetLCBValues |  |  |
|  | QueryLogByTime |  |  |
|  | QueryLogAfter |  |  |
|  | GetLogStatusValues |  |  |
|  | SendGOOSEMessage |  |  |
|  | GetGoCBValues |  |  |
|  | SetGoCBValues |  |  |
|  | GetGoReference |  |  |
|  | GetGOOSEElementNumber |  |  |
|  | SendMSVMessage |  |  |
|  | GetMSVCBValues |  |  |
|  | SetMSVCBValues |  |  |
|  | SendUSVMessage |  |  |
|  | GetUSVCBValues |  |  |
|  | SetUSVCBValues |  |  |
|  | Select |  |  |
|  | SelectWithValue |  |  |
|  | Cancel |  |  |
|  | Operate |  |  |
|  | CommandTermination |  |  |
|  | TimeActivatedOperate |  |  |
|  | GetFile |  |  |
|  | SetFile |  |  |
|  | DeleteFile |  |  |
|  | GetFileAttributeValues |  |  |
|  | TimeSynchronization |  |  |
|  | InternalChange |  |  |
|  | GetLogicalNodeDirectory |  |  |

ServiceStatusKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | no-error |  |  |
|  | instance-not-available |  |  |
|  | instance-in-use |  |  |
|  | access-violation |  |  |
|  | access-not-allowed-in-current-state |  |  |
|  | parameter-value-inappropriate |  |  |
|  | parameter-value-inconsistent |  |  |
|  | class-not-supported |  |  |
|  | instance-locked-by-other-client |  |  |
|  | control-must-be-selected |  |  |
|  | type-conflict |  |  |
|  | failed-due-to-communications-constraint |  |  |
|  | failed-due-to-server-constraint |  |  |

OriginatorCategoryKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | not-supported |  |  |
|  | bay-control |  |  |
|  | station-control |  |  |
|  | remote-control |  |  |
|  | automatic-bay |  |  |
|  | automatic-station |  |  |
|  | automatic-remote |  |  |
|  | maintenance |  |  |
|  | process |  |  |

ControlServiceStatusKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Unknown |  |  |
|  | Not-supported |  |  |
|  | Blocked-by-switching-hierarchy |  |  |
|  | Select-failed |  |  |
|  | Invalid-position |  |  |
|  | Position-reached |  |  |
|  | Parameter-change-in-execution |  |  |
|  | Step-limit |  |  |
|  | Blocked-by-Mode |  |  |
|  | Blocked-by-process |  |  |
|  | Blocked-by-interlocking |  |  |
|  | Blocked-by-synchrocheck |  |  |
|  | Command-already-in-execution |  |  |
|  | Blocked-by-health |  |  |
|  | 1-of-n-control |  |  |
|  | Abortion-by-cancel |  |  |
|  | Time-limit-over |  |  |
|  | Abortion-by-trip |  |  |
|  | Object-not-selected |  |  |
|  | Object-already-selected |  |  |
|  | No-access-authority |  |  |
|  | Ended-with-overshoot |  |  |
|  | Abortion-due-to-deviation |  |  |
|  | Abortion-by-communication-loss |  |  |
|  | Blocked-by-command |  |  |
|  | None |  |  |
|  | Inconsistent-parameters |  |  |
|  | Locked-by-other-client |  |  |

SamplingModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | SamplesPerPeriod |  |  |
|  | SamplesPerSecond |  |  |
|  | SecondsPerSample |  |  |

AngleReferenceKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | V |  |  |
|  | A |  |  |
|  | other |  |  |
|  | Synchrophasor |  |  |

CtlModelKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | status-only |  |  |
|  | direct-with-normal-security |  |  |
|  | sbo-with-normal-security |  |  |
|  | direct-with-enhanced-security |  |  |
|  | sbo-with-enhanced-security |  |  |

CurveCharKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | ANSI Extremely Inverse |  |  |
|  | ANSI Very Inverse |  |  |
|  | ANSI Normal Inverse |  |  |
|  | ANSI Moderate Inverse |  |  |
|  | ANSI Definite Time |  |  |
|  | Long-Time Extremely Inverse |  |  |
|  | Long-Time Very Inverse |  |  |
|  | Long-Time Inverse |  |  |
|  | IEC Normal Inverse |  |  |
|  | IEC Very Inverse |  |  |
|  | IEC Inverse |  |  |
|  | IEC Extremely Inverse |  |  |
|  | IEC Short-Time Inverse |  |  |
|  | IEC Long-Time Inverse |  |  |
|  | IEC Definite Time |  |  |
|  | Reserved |  |  |
|  | Polynom 1 |  |  |
|  | Polynom 2 |  |  |
|  | Polynom 3 |  |  |
|  | Polynom 4 |  |  |
|  | Polynom 5 |  |  |
|  | Polynom 6 |  |  |
|  | Polynom 7 |  |  |
|  | Polynom 8 |  |  |
|  | Polynom 9 |  |  |
|  | Polynom 10 |  |  |
|  | Polynom 11 |  |  |
|  | Polynom 12 |  |  |
|  | Polynom 13 |  |  |
|  | Polynom 14 |  |  |
|  | Polynom 15 |  |  |
|  | Polynom 16 |  |  |
|  | Multiline 1 |  |  |
|  | Multiline 2 |  |  |
|  | Multiline 3 |  |  |
|  | Multiline 4 |  |  |
|  | Multiline 5 |  |  |
|  | Multiline 6 |  |  |
|  | Multiline 7 |  |  |
|  | Multiline 8 |  |  |
|  | Multiline 9 |  |  |
|  | Multiline 10 |  |  |
|  | Multiline 11 |  |  |
|  | Multiline 12 |  |  |
|  | Multiline 13 |  |  |
|  | Multiline 14 |  |  |
|  | Multiline 15 |  |  |
|  | Multiline 16 |  |  |

FaultDirectionKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | unknown |  |  |
|  | forward |  |  |
|  | backward |  |  |
|  | both |  |  |

HvReferenceKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | fundamental |  |  |
|  | rms |  |  |
|  | absolute |  |  |

MonthKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | reserved |  |  |
|  | January |  |  |
|  | February |  |  |
|  | March |  |  |
|  | April |  |  |
|  | May |  |  |
|  | June |  |  |
|  | July |  |  |
|  | August |  |  |
|  | September |  |  |
|  | October |  |  |
|  | November |  |  |
|  | December |  |  |

MultiplierKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | y |  |  |
|  | z |  |  |
|  | a |  |  |
|  | f |  |  |
|  | p |  |  |
|  | n |  |  |
|  | µ |  |  |
|  | m |  |  |
|  | c |  |  |
|  | d |  |  |
|  | da |  |  |
|  | h |  |  |
|  | k |  |  |
|  | M |  |  |
|  | G |  |  |
|  | T |  |  |
|  | P |  |  |
|  | E |  |  |
|  | Z |  |  |
|  | Y |  |  |

OccurrenceKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Time |  |  |
|  | WeekDay |  |  |
|  | WeekOfYear |  |  |
|  | DayOfMonth |  |  |
|  | DayOfYear |  |  |

ControlOutputKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | pulse |  |  |
|  | persistent |  |  |
|  | persistent-feedback |  |  |

PeriodKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Hour |  |  |
|  | Day |  |  |
|  | Week |  |  |
|  | Month |  |  |
|  | Year |  |  |

PhaseAngleReferenceKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Va |  |  |
|  | Vb |  |  |
|  | Vc |  |  |
|  | Aa |  |  |
|  | Ab |  |  |
|  | Ac |  |  |
|  | Vab |  |  |
|  | Vbc |  |  |
|  | Vca |  |  |
|  | Vother |  |  |
|  | Aother |  |  |
|  | Synchrophasor |  |  |

PhaseFaultDirectionKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | unknown |  |  |
|  | forward |  |  |
|  | backward |  |  |

PhaseReferenceKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | A |  |  |
|  | B |  |  |
|  | C |  |  |

RangeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | normal |  |  |
|  | high |  |  |
|  | low |  |  |
|  | high-high |  |  |
|  | low-low |  |  |

SIUnitKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | m |  |  |
|  | kg |  |  |
|  | s |  |  |
|  | A |  |  |
|  | K |  |  |
|  | mol |  |  |
|  | cd |  |  |
|  | deg |  |  |
|  | rad |  |  |
|  | sr |  |  |
|  | Gy |  |  |
|  | Bq |  |  |
|  | °C |  |  |
|  | Sv |  |  |
|  | F |  |  |
|  | C |  |  |
|  | S |  |  |
|  | H |  |  |
|  | V |  |  |
|  | ohm |  |  |
|  | J |  |  |
|  | N |  |  |
|  | Hz |  |  |
|  | lx |  |  |
|  | Lm |  |  |
|  | Wb |  |  |
|  | T |  |  |
|  | W |  |  |
|  | Pa |  |  |
|  | m² |  |  |
|  | m³ |  |  |
|  | m/s |  |  |
|  | m/s² |  |  |
|  | m³/s |  |  |
|  | m/m³ |  |  |
|  | M |  |  |
|  | kg/m³ |  |  |
|  | m²/s |  |  |
|  | W/m K |  |  |
|  | J/K |  |  |
|  | ppm |  |  |
|  | 1/s |  |  |
|  | rad/s |  |  |
|  | W/m² |  |  |
|  | J/m² |  |  |
|  | S/m |  |  |
|  | K/s |  |  |
|  | Pa/s |  |  |
|  | J/kg K |  |  |
|  | VA |  |  |
|  | Watts |  |  |
|  | VAr |  |  |
|  | phi |  |  |
|  | cos(phi) |  |  |
|  | Vs |  |  |
|  | V² |  |  |
|  | As |  |  |
|  | A² |  |  |
|  | A²t |  |  |
|  | VAh |  |  |
|  | Wh |  |  |
|  | VArh |  |  |
|  | V/Hz |  |  |
|  | Hz/s |  |  |
|  | char |  |  |
|  | char/s |  |  |
|  | kgm² |  |  |
|  | dB |  |  |
|  | J/Wh |  |  |
|  | W/s |  |  |
|  | l/s |  |  |
|  | dBm |  |  |
|  | h |  |  |
|  | min |  |  |

SboClassKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | operate-once |  |  |
|  | operate-many |  |  |

SequenceKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | pos-neg-zero |  |  |
|  | dir-quad-zero |  |  |

SeverityKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | unknown |  |  |
|  | critical |  |  |
|  | major |  |  |
|  | minor |  |  |
|  | warning |  |  |

WeekdayKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | reserved |  |  |
|  | Monday |  |  |
|  | Tuesday |  |  |
|  | Wednesday |  |  |
|  | Thursday |  |  |
|  | Friday |  |  |
|  | Saturday |  |  |
|  | Sunday |  |  |

ScaledValueConfig (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | scaleFactor | Float |  |
|  | offset | Float |  |

RangeConfig (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | hhLim | AnalogueValue |  |
|  | hLim | AnalogueValue |  |
|  | lLim | AnalogueValue |  |
|  | llLim | AnalogueValue |  |
|  | min | AnalogueValue |  |
|  | max | AnalogueValue |  |
|  | limDb | UInt32 |  |

ValWithTrans (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | posVal | SByte |  |
|  | transInd | Boolean |  |

PulseConfig (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | cmdQual | ControlOutputKind |  |
|  | onDur | UInt32 |  |
|  | offDur | UInt32 |  |
|  | numPls | UInt32 |  |

Originator (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | orCat | OriginatorCategoryKind |  |
|  | orIdent | ByteString |  |

Unit (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | SIUnit | SIUnitKind |  |
|  | multiplier | MultiplierKind |  |

Vector (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | mag | AnalogueValue |  |
|  | ang | AnalogueValue |  |

Point (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | xVal | Float |  |
|  | yVal | Float |  |
|  | zVal | Float |  |

Cell (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | xStart | Float |  |
|  | xEnd | Float |  |
|  | yStart | Float |  |
|  | yEnd | Float |  |

CalendarTime (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | occ | UInt16 |  |
|  | occType | OccurrenceKind |  |
|  | occPer | PeriodKind |  |
|  | weekDay | WeekdayKind |  |
|  | month | MonthKind |  |
|  | day | Byte |  |
|  | hr | Byte |  |
|  | mn | Byte |  |

AnalogueValue (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | i | Int32 |  |
|  | f | Float |  |

AnalogueValueCtl (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | i | Int32 |  |
|  | f | Float |  |

AnalogueValueCtlF (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | f | Float |  |

AnalogueValueCtlInt (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | i | Int32 |  |

SPS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

DPS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

INS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | units | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

ENS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

ACT (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | general | False |
| HasDataAttribute | phsA | False |
| HasDataAttribute | phsB | False |
| HasDataAttribute | phsC | False |
| HasDataAttribute | neut | False |
| HasDataAttribute | q | False |
| HasDataAttribute | originSrc | False |
| HasDataAttribute | operTmPhsA | False |
| HasDataAttribute | operTmPhsB | False |
| HasDataAttribute | operTmPhsC | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

ACD (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | general | False |
| HasDataAttribute | dirGeneral | False |
| HasDataAttribute | phsA | False |
| HasDataAttribute | dirPhsA | False |
| HasDataAttribute | phsB | False |
| HasDataAttribute | dirPhsB | False |
| HasDataAttribute | phsC | False |
| HasDataAttribute | dirPhsC | False |
| HasDataAttribute | neut | False |
| HasDataAttribute | dirNeut | False |
| HasDataAttribute | q | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

SEC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | cnt | False |
| HasDataAttribute | sev | False |
| HasDataAttribute | addr | False |
| HasDataAttribute | addInfo | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

BCR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | actVal | False |
| HasDataAttribute | frVal | False |
| HasDataAttribute | frTm | False |
| HasDataAttribute | q | False |
| HasDataAttribute | units | False |
| HasDataAttribute | pulsQty | False |
| HasDataAttribute | frEna | False |
| HasDataAttribute | strTm | False |
| HasDataAttribute | frPd | False |
| HasDataAttribute | frRs | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

HST (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | hstVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | numPts | False |
| HasDataAttribute | hstRangeC | False |
| HasDataAttribute | xUnits | False |
| HasDataAttribute | yUnits | False |
| HasDataAttribute | units | False |
| HasDataAttribute | maxPts | False |
| HasDataAttribute | xD | False |
| HasDataAttribute | xDU | False |
| HasDataAttribute | yD | False |
| HasDataAttribute | yDU | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

VSS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

MV (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | instMag | False |
| HasDataAttribute | mag | False |
| HasDataAttribute | range | False |
| HasDataAttribute | q | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subMag | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | units | False |
| HasDataAttribute | db | False |
| HasDataAttribute | zeroDb | False |
| HasDataAttribute | sVC | False |
| HasDataAttribute | rangeC | False |
| HasDataAttribute | smpRate | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

CMV (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | instCVal | False |
| HasDataAttribute | cVal | False |
| HasDataAttribute | range | False |
| HasDataAttribute | rangeAng | False |
| HasDataAttribute | q | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subCVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | units | False |
| HasDataAttribute | db | False |
| HasDataAttribute | dbAng | False |
| HasDataAttribute | zeroDb | False |
| HasDataAttribute | rangeC | False |
| HasDataAttribute | rangeAngC | False |
| HasDataAttribute | magSVC | False |
| HasDataAttribute | angSVC | False |
| HasDataAttribute | angRef | False |
| HasDataAttribute | smpRate | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

SAV (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | instMag | False |
| HasDataAttribute | q | False |
| HasDataAttribute | units | False |
| HasDataAttribute | sVC | False |
| HasDataAttribute | min | False |
| HasDataAttribute | max | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

WYE (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | phsA | False |
| HasDataObject | phsB | False |
| HasDataObject | phsC | False |
| HasDataObject | neut | False |
| HasDataObject | net | False |
| HasDataObject | res | False |
| HasDataAttribute | angRef | False |
| HasDataAttribute | phsToNeut | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

DEL (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | phsAB | False |
| HasDataObject | phsBC | False |
| HasDataObject | phsCA | False |
| HasDataAttribute | angRef | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

SEQ (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | c1 | False |
| HasDataObject | c2 | False |
| HasDataObject | c3 | False |
| HasDataAttribute | seqT | False |
| HasDataAttribute | phsRef | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

HMV (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | X003C_harX003E_ | False |
| HasDataAttribute | numHar | False |
| HasDataAttribute | numCyc | False |
| HasDataAttribute | evalTm | False |
| HasDataAttribute | smpRate | False |
| HasDataAttribute | frequency | False |
| HasDataAttribute | hvRef | False |
| HasDataAttribute | rmsCyc | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

HWYE (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | X003C_phsAHarX003E_ | False |
| HasDataObject | X003C_phsBHarX003E_ | False |
| HasDataObject | X003C_phsCHarX003E_ | False |
| HasDataObject | X003C_neutHarX003E_ | False |
| HasDataObject | X003C_netHarX003E_ | False |
| HasDataObject | X003C_resHarX003E_ | False |
| HasDataAttribute | numHar | False |
| HasDataAttribute | numCyc | False |
| HasDataAttribute | evalTm | False |
| HasDataAttribute | angRef | False |
| HasDataAttribute | smpRate | False |
| HasDataAttribute | frequency | False |
| HasDataAttribute | hvRef | False |
| HasDataAttribute | rmsCyc | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

HDEL (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | X003C_phsABHarX003E_ | False |
| HasDataObject | X003C_phsBCHarX003E_ | False |
| HasDataObject | X003C_phsCAHarX003E_ | False |
| HasDataAttribute | numHar | False |
| HasDataAttribute | numCyc | False |
| HasDataAttribute | evalTm | False |
| HasDataAttribute | angRef | False |
| HasDataAttribute | smpRate | False |
| HasDataAttribute | frequency | False |
| HasDataAttribute | hvRef | False |
| HasDataAttribute | rmsCyc | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

SPC (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | Cancel |  |  | Mandatory |
| HasComponent | Method | Select |  |  | Optional |
| HasComponent | Method | SelectWithVal |  |  | Optional |
| HasComponent | Method | TimeActivatedOperate |  |  | Optional |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | origin | False |
| HasDataAttribute | ctlNum | False |
| HasDataAttribute | stVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | stSeld | False |
| HasDataAttribute | opRcvd | False |
| HasDataAttribute | opOk | False |
| HasDataAttribute | tOpOk | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | pulseConfig | False |
| HasDataAttribute | ctlModel | False |
| HasDataAttribute | sboTimeout | False |
| HasDataAttribute | sboClass | False |
| HasDataAttribute | operTimeout | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

DPC (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | Cancel |  |  | Mandatory |
| HasComponent | Method | Select |  |  | Optional |
| HasComponent | Method | SelectWithVal |  |  | Optional |
| HasComponent | Method | TimeActivatedOperate |  |  | Optional |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | origin | False |
| HasDataAttribute | ctlNum | False |
| HasDataAttribute | stVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | stSeld | False |
| HasDataAttribute | opRcvd | False |
| HasDataAttribute | opOk | False |
| HasDataAttribute | tOpOk | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | pulseConfig | False |
| HasDataAttribute | ctlModel | False |
| HasDataAttribute | sboTimeout | False |
| HasDataAttribute | sboClass | False |
| HasDataAttribute | operTimeout | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

INC (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | Cancel |  |  | Mandatory |
| HasComponent | Method | Select |  |  | Optional |
| HasComponent | Method | SelectWithVal |  |  | Optional |
| HasComponent | Method | TimeActivatedOperate |  |  | Optional |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | origin | False |
| HasDataAttribute | ctlNum | False |
| HasDataAttribute | stVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | stSeld | False |
| HasDataAttribute | opRcvd | False |
| HasDataAttribute | opOk | False |
| HasDataAttribute | tOpOk | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | ctlModel | False |
| HasDataAttribute | sboTimeout | False |
| HasDataAttribute | sboClass | False |
| HasDataAttribute | minVal | False |
| HasDataAttribute | maxVal | False |
| HasDataAttribute | stepSize | False |
| HasDataAttribute | operTimeout | False |
| HasDataAttribute | units | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

ENC (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | Cancel |  |  | Mandatory |
| HasComponent | Method | Select |  |  | Optional |
| HasComponent | Method | SelectWithVal |  |  | Optional |
| HasComponent | Method | TimeActivatedOperate |  |  | Optional |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | origin | False |
| HasDataAttribute | ctlNum | False |
| HasDataAttribute | stVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | stSeld | False |
| HasDataAttribute | opRcvd | False |
| HasDataAttribute | opOk | False |
| HasDataAttribute | tOpOk | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | ctlModel | False |
| HasDataAttribute | sboTimeout | False |
| HasDataAttribute | sboClass | False |
| HasDataAttribute | operTimeout | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

BSC (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | Cancel |  |  | Mandatory |
| HasComponent | Method | Select |  |  | Optional |
| HasComponent | Method | SelectWithVal |  |  | Optional |
| HasComponent | Method | TimeActivatedOperate |  |  | Optional |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | origin | False |
| HasDataAttribute | ctlNum | False |
| HasDataAttribute | valWTr | False |
| HasDataAttribute | q | False |
| HasDataAttribute | stSeld | False |
| HasDataAttribute | opRcvd | False |
| HasDataAttribute | opOk | False |
| HasDataAttribute | tOpOk | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | persistent | False |
| HasDataAttribute | ctlModel | False |
| HasDataAttribute | sboTimeout | False |
| HasDataAttribute | sboClass | False |
| HasDataAttribute | minVal | False |
| HasDataAttribute | maxVal | False |
| HasDataAttribute | operTimeout | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

ISC (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | Cancel |  |  | Mandatory |
| HasComponent | Method | Select |  |  | Optional |
| HasComponent | Method | SelectWithVal |  |  | Optional |
| HasComponent | Method | TimeActivatedOperate |  |  | Optional |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | origin | False |
| HasDataAttribute | ctlNum | False |
| HasDataAttribute | valWTr | False |
| HasDataAttribute | q | False |
| HasDataAttribute | stSeld | False |
| HasDataAttribute | opRcvd | False |
| HasDataAttribute | opOk | False |
| HasDataAttribute | tOpOk | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | ctlModel | False |
| HasDataAttribute | sboTimeout | False |
| HasDataAttribute | sboClass | False |
| HasDataAttribute | minVal | False |
| HasDataAttribute | maxVal | False |
| HasDataAttribute | operTimeout | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

APC (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | Cancel |  |  | Mandatory |
| HasComponent | Method | Select |  |  | Optional |
| HasComponent | Method | SelectWithVal |  |  | Optional |
| HasComponent | Method | TimeActivatedOperate |  |  | Optional |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | origin | False |
| HasDataAttribute | ctlNum | False |
| HasDataAttribute | mxVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | stSeld | False |
| HasDataAttribute | opRcvd | False |
| HasDataAttribute | opOk | False |
| HasDataAttribute | tOpOk | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | ctlModel | False |
| HasDataAttribute | sboTimeout | False |
| HasDataAttribute | sboClass | False |
| HasDataAttribute | units | False |
| HasDataAttribute | db | False |
| HasDataAttribute | sVC | False |
| HasDataAttribute | minVal | False |
| HasDataAttribute | maxVal | False |
| HasDataAttribute | stepSize | False |
| HasDataAttribute | operTimeout | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

BAC (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | Cancel |  |  | Mandatory |
| HasComponent | Method | Select |  |  | Optional |
| HasComponent | Method | SelectWithVal |  |  | Optional |
| HasComponent | Method | TimeActivatedOperate |  |  | Optional |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | origin | False |
| HasDataAttribute | ctlNum | False |
| HasDataAttribute | mxVal | False |
| HasDataAttribute | q | False |
| HasDataAttribute | stSeld | False |
| HasDataAttribute | opRcvd | False |
| HasDataAttribute | opOk | False |
| HasDataAttribute | tOpOk | False |
| HasDataAttribute | subEna | False |
| HasDataAttribute | subVal | False |
| HasDataAttribute | subQ | False |
| HasDataAttribute | subID | False |
| HasDataAttribute | blkEna | False |
| HasDataAttribute | persistent | False |
| HasDataAttribute | ctlModel | False |
| HasDataAttribute | sboTimeout | False |
| HasDataAttribute | sboClass | False |
| HasDataAttribute | units | False |
| HasDataAttribute | db | False |
| HasDataAttribute | sVC | False |
| HasDataAttribute | minVal | False |
| HasDataAttribute | maxVal | False |
| HasDataAttribute | stepSize | False |
| HasDataAttribute | operTimeout | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

SPG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

ING (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |
| HasDataAttribute | minVal | False |
| HasDataAttribute | maxVal | False |
| HasDataAttribute | stepSize | False |
| HasDataAttribute | units | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

ENG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

ORG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setSrcRef | False |
| HasDataAttribute | setTstRef | False |
| HasDataAttribute | setSrcCB | False |
| HasDataAttribute | setTstCB | False |
| HasDataAttribute | intAddr | False |
| HasDataAttribute | tstEna | False |
| HasDataAttribute | purpose | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

TSG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setTm | False |
| HasDataAttribute | setCal | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

CUG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | cur | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

VSG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

ASG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setMag | False |
| HasDataAttribute | units | False |
| HasDataAttribute | sVC | False |
| HasDataAttribute | minVal | False |
| HasDataAttribute | maxVal | False |
| HasDataAttribute | stepSize | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

CURVE (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setCharact | False |
| HasDataAttribute | setParA | False |
| HasDataAttribute | setParB | False |
| HasDataAttribute | setParC | False |
| HasDataAttribute | setParD | False |
| HasDataAttribute | setParE | False |
| HasDataAttribute | setParF | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

CSG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | pointZ | False |
| HasDataAttribute | numPts | False |
| HasDataAttribute | crvPts | False |
| HasDataAttribute | xUnits | False |
| HasDataAttribute | yUnits | False |
| HasDataAttribute | zUnits | False |
| HasDataAttribute | maxPts | False |
| HasDataAttribute | xD | False |
| HasDataAttribute | xDU | False |
| HasDataAttribute | yD | False |
| HasDataAttribute | yDU | False |
| HasDataAttribute | zD | False |
| HasDataAttribute | zDU | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

DPL (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | vendor | False |
| HasDataAttribute | hwRev | False |
| HasDataAttribute | swRev | False |
| HasDataAttribute | serNum | False |
| HasDataAttribute | model | False |
| HasDataAttribute | location | False |
| HasDataAttribute | name | False |
| HasDataAttribute | owner | False |
| HasDataAttribute | ePSName | False |
| HasDataAttribute | primeOper | False |
| HasDataAttribute | secondOper | False |
| HasDataAttribute | latitude | False |
| HasDataAttribute | longitude | False |
| HasDataAttribute | altitude | False |
| HasDataAttribute | mRID | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

LPL (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | vendor | False |
| HasDataAttribute | swRev | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | configRev | False |
| HasDataAttribute | paramRev | False |
| HasDataAttribute | valRev | False |
| HasDataAttribute | ldNs | False |
| HasDataAttribute | lnNs | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

CSD (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | xUnits | False |
| HasDataAttribute | xD | False |
| HasDataAttribute | xDU | False |
| HasDataAttribute | yUnits | False |
| HasDataAttribute | yD | False |
| HasDataAttribute | yDU | False |
| HasDataAttribute | zUnits | False |
| HasDataAttribute | zD | False |
| HasDataAttribute | zDU | False |
| HasDataAttribute | numPts | False |
| HasDataAttribute | crvPts | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

CST (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

BTS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | rptID | False |
| HasDataAttribute | rptEna | False |
| HasDataAttribute | datSet | False |
| HasDataAttribute | confRev | False |
| HasDataAttribute | optFlds | False |
| HasDataAttribute | bufTm | False |
| HasDataAttribute | sqNum | False |
| HasDataAttribute | trgOps | False |
| HasDataAttribute | intgPd | False |
| HasDataAttribute | gi | False |
| HasDataAttribute | purgeBuf | False |
| HasDataAttribute | entryID | False |
| HasDataAttribute | timeOfEntry | False |
| HasDataAttribute | resvTms | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

UTS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | rptID | False |
| HasDataAttribute | rptEna | False |
| HasDataAttribute | resv | False |
| HasDataAttribute | datSet | False |
| HasDataAttribute | confRev | False |
| HasDataAttribute | optFlds | False |
| HasDataAttribute | bufTm | False |
| HasDataAttribute | sqNum | False |
| HasDataAttribute | trgOps | False |
| HasDataAttribute | intgPd | False |
| HasDataAttribute | gi | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

LTS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | oldEntrTm | False |
| HasDataAttribute | newEntrTm | False |
| HasDataAttribute | oldEnt | False |
| HasDataAttribute | newEnt | False |
| HasDataAttribute | logEna | False |
| HasDataAttribute | datSet | False |
| HasDataAttribute | optFlds | False |
| HasDataAttribute | bufTm | False |
| HasDataAttribute | trgOps | False |
| HasDataAttribute | intgPd | False |
| HasDataAttribute | logRef | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

OTS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | oldEntrTm | False |
| HasDataAttribute | newEntrTm | False |
| HasDataAttribute | oldEnt | False |
| HasDataAttribute | newEnt | False |
| HasDataAttribute | rangeStrTm | False |
| HasDataAttribute | rangeStpTm | False |
| HasDataAttribute | entry | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

GTS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | goEna | False |
| HasDataAttribute | goID | False |
| HasDataAttribute | datSet | False |
| HasDataAttribute | confRev | False |
| HasDataAttribute | ndsCom | False |
| HasDataAttribute | dstAddress | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

MTS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | svEna | False |
| HasDataAttribute | msvID | False |
| HasDataAttribute | datSet | False |
| HasDataAttribute | confRev | False |
| HasDataAttribute | smpMod | False |
| HasDataAttribute | smpRate | False |
| HasDataAttribute | optFlds | False |
| HasDataAttribute | dstAddress | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

NTS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | svEna | False |
| HasDataAttribute | resv | False |
| HasDataAttribute | usvID | False |
| HasDataAttribute | datSet | False |
| HasDataAttribute | confRev | False |
| HasDataAttribute | smpMod | False |
| HasDataAttribute | smpRate | False |
| HasDataAttribute | optFlds | False |
| HasDataAttribute | dstAddress | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

STS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | numOfSG | False |
| HasDataAttribute | actSG | False |
| HasDataAttribute | editSG | False |
| HasDataAttribute | cnfEdit | False |
| HasDataAttribute | lActTm | False |
| HasDataAttribute | resvTms | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |

CTS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | objRef | False |
| HasDataAttribute | serviceType | False |
| HasDataAttribute | errorCode | False |
| HasDataAttribute | originatorID | False |
| HasDataAttribute | ctlVal | False |
| HasDataAttribute | operTm | False |
| HasDataAttribute | origin | False |
| HasDataAttribute | ctlNum | False |
| HasDataAttribute | T | False |
| HasDataAttribute | Test | False |
| HasDataAttribute | Check | False |
| HasDataAttribute | respAddCause | False |
| HasDataAttribute | d | False |
| HasDataAttribute | dU | False |
| HasDataAttribute | cdcNs | False |
| HasDataAttribute | cdcName | False |
| HasDataAttribute | dataNs | False |