Model documentation

AdjustmentKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Completed |  |  |
|  | Cancelled |  |  |
|  | New adjustments |  |  |
|  | Under way |  |  |

AutoReclosingKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Ready |  |  |
|  | InProgress |  |  |
|  | Successful |  |  |
|  | WaitingForTrip |  |  |
|  | TripFromProtection |  |  |
|  | FaultDisappeared |  |  |
|  | WaitToComplete |  |  |
|  | CBclosed |  |  |
|  | CycleUnsuccessful |  |  |
|  | Unsuccessful |  |  |
|  | Aborted |  |  |

BehaviourModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | on |  |  |
|  | blocked |  |  |
|  | test |  |  |
|  | test/blocked |  |  |
|  | off |  |  |

BreakerOpCapabilityKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | None |  |  |
|  | Open |  |  |
|  | Close-Open |  |  |
|  | Open-Close-Open |  |  |
|  | Close-Open-Close-Open |  |  |
|  | Open-Close-Open-Close-Open |  |  |
|  | more |  |  |

CalcIntervalKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | MS |  |  |
|  | PER_CYCLE |  |  |
|  | CYCLE |  |  |
|  | DAY |  |  |
|  | WEEK |  |  |
|  | MONTH |  |  |
|  | YEAR |  |  |
|  | EXTERNAL |  |  |

CalcMethodKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | UNSPECIFIED |  |  |
|  | TRUE_RMS |  |  |
|  | PEAK_FUNDAMENTAL |  |  |
|  | RMS_FUNDAMENTAL |  |  |
|  | MIN |  |  |
|  | MAX |  |  |
|  | AVG |  |  |
|  | SDV |  |  |
|  | PREDICTION |  |  |
|  | RATE |  |  |

CalcModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | TOTAL |  |  |
|  | PERIOD |  |  |
|  | SLIDING |  |  |

ClockSyncKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | ExternalAreaClock |  |  |
|  | LocalAreaClock |  |  |
|  | GlobalAreaClock |  |  |

DirectionModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | NonDirectional |  |  |
|  | Forward |  |  |
|  | Reverse |  |  |

FailureDetectionKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Current |  |  |
|  | Breaker Status |  |  |
|  | Both current and breaker status |  |  |
|  | Other |  |  |

FaultLoopKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | PhaseAtoGround |  |  |
|  | PhaseBtoGround |  |  |
|  | PhaseCtoGround |  |  |
|  | PhaseAtoB |  |  |
|  | PhaseBtoC |  |  |
|  | PhaseCtoA |  |  |
|  | Others |  |  |

FilterFunctionKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Low pass |  |  |
|  | High pass |  |  |
|  | Bandpass |  |  |
|  | Bandstop |  |  |
|  | Deadband |  |  |

HealthKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Ok |  |  |
|  | Warning |  |  |
|  | Alarm |  |  |

LevelTriggerModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Positive or Rising |  |  |
|  | Negative or Falling |  |  |
|  | Both |  |  |
|  | Other |  |  |

LiveDeadModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Dead Line, Dead Bus |  |  |
|  | Live Line, Dead Bus |  |  |
|  | Dead Line, Live Bus |  |  |
|  | Dead Line, Dead Bus OR Live Line, Dead Bus |  |  |
|  | Dead Line, Dead Bus OR Dead Line, Live Bus |  |  |
|  | Live Line, Dead Bus OR Dead Line, Live Bus |  |  |
|  | Dead Line, Dead Bus OR Live Line, Dead Bus OR Dead Line, Live Bus |  |  |

PFSignKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | IEC |  |  |
|  | EEI |  |  |

PIDAlgorithmKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | P |  |  |
|  | I |  |  |
|  | D |  |  |
|  | PI |  |  |
|  | PD |  |  |
|  | ID |  |  |
|  | PID |  |  |

POWSwitchingCapabilityKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | None |  |  |
|  | Close |  |  |
|  | Open |  |  |
|  | Close and Open |  |  |

ParallelCoilModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Master/Slave |  |  |
|  | Master/Slave with fixed slave position |  |  |
|  | Master/Slave with variable slave position |  |  |
|  | Parallel operation without communication |  |  |

ParallelCtrlModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Master |  |  |
|  | Slave |  |  |
|  | Independent |  |  |

ParallelTransfModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | No Mode predefined |  |  |
|  | Master |  |  |
|  | Follower |  |  |
|  | Power Factor |  |  |
|  | Negative Reactance |  |  |
|  | Circulating Current |  |  |
|  | Circulating Reactive Current (var balancing) |  |  |
|  | Circulating Reactive Current by equalizing power factor |  |  |

PolarizingQuantityKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | None |  |  |
|  | Zero Sequence Current |  |  |
|  | Zero Sequence Voltage |  |  |
|  | Negative Sequence Voltage |  |  |
|  | Phase to Phase Voltages |  |  |
|  | Phase to Ground Voltages |  |  |
|  | Positive sequence voltage |  |  |

RecordingModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Overwrite existing values |  |  |
|  | Stop when full or saturated |  |  |

RectifierControlModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Current |  |  |
|  | Voltage |  |  |
|  | Active Power |  |  |

ResetCurveKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | None |  |  |
|  | Definite Time Delayed Reset |  |  |
|  | Inverse Reset |  |  |

RestraintModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | None |  |  |
|  | Harmonic2 |  |  |
|  | Harmonic5 |  |  |
|  | Harmonic2and5 |  |  |
|  | WaveformAnalysis |  |  |
|  | WaveformAnalysisAndHarmonic2 |  |  |
|  | Other |  |  |
|  | WaveformAnalysisAndHarmonic5 |  |  |
|  | WaveformAnalysisAndHarmonic2AndHarmonic5 |  |  |

RetripModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Off |  |  |
|  | Without Check |  |  |
|  | With Current Check |  |  |
|  | With Breaker Status Check |  |  |
|  | With Current and Breaker Status Check |  |  |
|  | Other Checks |  |  |

RotatingMachineStateKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Stopped |  |  |
|  | Stopping |  |  |
|  | Started |  |  |
|  | Starting |  |  |
|  | Disabled |  |  |

RotationalDirectionKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Clockwise |  |  |
|  | Counter-Clockwise |  |  |
|  | Unknown |  |  |

RotorThermalStateKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Cold |  |  |
|  | Warm |  |  |
|  | Overload |  |  |

STotalCalcMethodKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Vector |  |  |
|  | Arithmetic |  |  |

SetpointEndKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Ended normally |  |  |
|  | Ended with overshoot |  |  |
|  | Cancelled: measurement was deviating |  |  |
|  | Cancelled: loss of communication with dispatch centre |  |  |
|  | Cancelled: loss of communication with local area network |  |  |
|  | Cancelled: loss of communication with the local interface |  |  |
|  | Cancelled: timeout |  |  |
|  | Cancelled: voluntarily |  |  |
|  | Cancelled: noisy environments |  |  |
|  | Cancelled: material failure |  |  |
|  | Cancelled: new set-point request |  |  |
|  | Cancelled: improper environment (blockage) |  |  |
|  | Cancelled: stability time was reached |  |  |
|  | Cancelled: immobilisation time was reached |  |  |
|  | Cancelled: equipment was in the wrong mode |  |  |
|  | Unknown causes |  |  |

StageControlKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Inactive |  |  |
|  | Stage1 |  |  |
|  | Stage2 |  |  |
|  | Stage3 |  |  |

SwitchFunctionKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Load Break |  |  |
|  | Disconnector |  |  |
|  | Earthing Switch |  |  |
|  | High Speed Earthing Switch |  |  |

SwitchingCapabilityKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | None |  |  |
|  | Open |  |  |
|  | Close |  |  |
|  | Open and Close |  |  |

SynchOperationModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Automatic-synchronizing |  |  |
|  | Automatic-paralleling |  |  |
|  | Manual |  |  |
|  | Test |  |  |

TankFillKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | pressure only |  |  |
|  | level only |  |  |
|  | both pressure and level |  |  |

TpcAppModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Unused |  |  |
|  | Blocking |  |  |
|  | Permissive |  |  |
|  | Direct |  |  |
|  | Unblocking |  |  |
|  | Status |  |  |

TriggerSourceKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Internal |  |  |
|  | External |  |  |
|  | Both |  |  |

TripBehaviourKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Single Pole Tripping |  |  |
|  | Undefined |  |  |
|  | Three Pole Tripping |  |  |

TripModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | 3 phase tripping |  |  |
|  | 1 or 3 phase tripping |  |  |
|  | specific |  |  |
|  | 1 phase tripping |  |  |

TuningKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Not tuned |  |  |
|  | Tuned |  |  |
|  | Tuned but not compensated |  |  |
|  | Umax |  |  |
|  | Umax but not compensated |  |  |
|  | Umax but not compensated due to U continous limitation |  |  |

UnbalanceDetectionKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Negative sequence |  |  |
|  | Zero sequence |  |  |
|  | Neg-pos sequence |  |  |
|  | Zero-pos sequence |  |  |
|  | Phase vector comparison |  |  |
|  | Others |  |  |

UnblockModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Off |  |  |
|  | Permanent |  |  |
|  | Time window |  |  |

VoltInterruptDetectionKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Voltage |  |  |
|  | Voltage and Current |  |  |
|  | Voltage and Normally Open breaker contact |  |  |
|  | Voltage and Normally Closed breaker contact |  |  |
|  | Voltage and Normally Open and Normally Closed breaker contacts |  |  |
|  | Normally Open breaker contact |  |  |
|  | Normally Closed breaker contact |  |  |
|  | Both Normally Open and Normally Closed breaker contacts |  |  |

WeakEndInfeedModeKind (DataType)

IsAbstract: False

| Fields |  |  |  |
| --- | --- | --- | --- |
| Identifier | Name | DataType | Description |
|  | Off |  |  |
|  | Operate |  |  |
|  | Echo |  |  |
|  | Echo and Operate |  |  |

CommonLN (ObjectType)

IsAbstract: True

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | NamPlt | False |
| HasDataObject | Beh | False |
| HasDataObject | Health | False |
| HasDataObject | Blk | False |
| HasDataObject | Mod | False |
| HasDataObject | InRef | False |
| HasDataObject | BlkRef | False |
| HasDataObject | ClcExp | False |
| HasDataObject | ClcStr | False |
| HasDataObject | ClcMth | False |
| HasDataObject | ClcMod | False |
| HasDataObject | ClcIntvTyp | False |
| HasDataObject | ClcIntvPer | False |
| HasDataObject | NumSubIntv | False |
| HasDataObject | ClcRfTyp | False |
| HasDataObject | ClcRfPer | False |
| HasDataObject | ClcSrc | False |
| HasDataObject | ClcNxTmms | False |
| HasDataObject | InSyn | False |

ENSBehaviourModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ENSHealthKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ENCBehaviourModeKind (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | SelectWithVal |  |  | Mandatory |
| HasComponent | Method | TimeActivatedOperate |  |  | Mandatory |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ENGCalcMethodKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

ENGCalcModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

ENGCalcIntervalKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

LPHD (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | PhyNam | False |
| HasDataObject | PhyHealth | False |
| HasDataObject | OutOv | False |
| HasDataObject | Proxy | False |
| HasDataObject | OpTmh | False |
| HasDataObject | InOv | False |
| HasDataObject | NumPwrUp | False |
| HasDataObject | WrmStr | False |
| HasDataObject | WacTrg | False |
| HasDataObject | PwrUp | False |
| HasDataObject | PwrDn | False |
| HasDataObject | PwrSupAlm | False |
| HasDataObject | RsStat | False |
| HasDataObject | Sim | False |

LLN0 (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | LocSta | False |
| HasDataObject | Diag | False |
| HasDataObject | LEDRs | False |
| HasDataObject | GrRef | False |
| HasDataObject | MltLev | False |

LCCH (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | ChLiv | False |
| HasDataObject | RedChLiv | False |
| HasDataObject | OutOv | False |
| HasDataObject | InOv | False |
| HasDataObject | FerCh | False |
| HasDataObject | RedFerCh | False |
| HasDataObject | RxCnt | False |
| HasDataObject | RedRxCnt | False |
| HasDataObject | TxCnt | False |
| HasDataObject | ApNam | False |
| HasDataObject | ChLivTms | False |

LGOS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | NdsCom | False |
| HasDataObject | St | False |
| HasDataObject | SimSt | False |
| HasDataObject | LastStNum | False |
| HasDataObject | ConfRevNum | False |
| HasDataObject | RxConfRevNum | False |
| HasDataObject | GoCBRef | False |

LSVS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | NdsCom | False |
| HasDataObject | St | False |
| HasDataObject | SimSt | False |
| HasDataObject | ConfRevNum | False |
| HasDataObject | RxConfRevNum | False |
| HasDataObject | SvCBRef | False |

LTIM (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | TmDT | False |
| HasDataObject | TmOfsTmm | False |
| HasDataObject | TmUseDT | False |
| HasDataObject | TmChgDT | False |
| HasDataObject | TmChgST | False |
| HasDataObject | StrWeekDay | False |

ENGWeekdayKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

LTMS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | TmAcc | False |
| HasDataObject | TmSrc | False |
| HasDataObject | TmSyn | False |
| HasDataObject | TmChSt | False |
| HasDataObject | TmSrcSet | False |

ENSClockSyncKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

LTRK (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | SpcTrk | False |
| HasDataObject | DpcTrk | False |
| HasDataObject | IncTrk | False |
| HasDataObject | EncTrk | False |
| HasDataObject | ApcFTrk | False |
| HasDataObject | ApcIntTrk | False |
| HasDataObject | BscTrk | False |
| HasDataObject | IscTrk | False |
| HasDataObject | BacTrk | False |
| HasDataObject | GenTrk | False |
| HasDataObject | UrcbTrk | False |
| HasDataObject | BrcbTrk | False |
| HasDataObject | LocbTrk | False |
| HasDataObject | GocbTrk | False |
| HasDataObject | MsvcbTrk | False |
| HasDataObject | UsvcbTrk | False |
| HasDataObject | SgcbTrk | False |

CTSBOOLEAN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | ctlVal | False |

CTSINT32 (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | ctlVal | False |

CTSAnalogueValueCtlF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | ctlVal | False |

CTSAnalogueValueCtlInt (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | ctlVal | False |

CTSTcmd (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | ctlVal | False |

CTSINT8 (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | ctlVal | False |

ANCR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | HiColPos | False |
| HasDataObject | LoColPos | False |
| HasDataObject | ColChgOp | False |
| HasDataObject | StFixCol | False |
| HasDataObject | StClcTun | False |
| HasDataObject | PotAlm | False |
| HasDataObject | MotAlm | False |
| HasDataObject | MotWrn | False |
| HasDataObject | ClcSeqWrn | False |
| HasDataObject | ColPosA | False |
| HasDataObject | AResoPt | False |
| HasDataObject | AWatt | False |
| HasDataObject | ADetun | False |
| HasDataObject | Damp | False |
| HasDataObject | CapacImb | False |
| HasDataObject | VolResoPt | False |
| HasDataObject | NeutVol | False |
| HasDataObject | LocSta | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | Auto | False |
| HasDataObject | TapChg | False |
| HasDataObject | ColTapPos | False |
| HasDataObject | ColPos | False |
| HasDataObject | ColChg | False |
| HasDataObject | StrClc | False |
| HasDataObject | ParOp | False |
| HasDataObject | FixCol | False |
| HasDataObject | ParColMod | False |
| HasDataObject | ParMod | False |
| HasDataObject | ADetunSpt | False |
| HasDataObject | BndWid | False |

ENSTuningKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ENGParallelCoilModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

ENGParallelCtrlModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

ARCO (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | VOvSt | False |
| HasDataObject | NeutAlm | False |
| HasDataObject | DschBlk | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | LocSta | False |
| HasDataObject | TapChg | False |
| HasDataObject | Auto | False |

ARIS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | ZBlk | False |
| HasDataObject | TmpAlm | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | LocSta | False |
| HasDataObject | Auto | False |
| HasDataObject | StrSeq | False |
| HasDataObject | NeutVol | False |
| HasDataObject | RisTmp | False |
| HasDataObject | RisTmpClc | False |

ATCC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | HiTapPos | False |
| HasDataObject | LoTapPos | False |
| HasDataObject | TapOpR | False |
| HasDataObject | TapOpL | False |
| HasDataObject | TapOpStop | False |
| HasDataObject | TapOpErr | False |
| HasDataObject | LTCBlkVLo | False |
| HasDataObject | LTCBlkVHi | False |
| HasDataObject | LTCBlkAHi | False |
| HasDataObject | EndPosR | False |
| HasDataObject | EndPosL | False |
| HasDataObject | ErrPar | False |
| HasDataObject | CtlV | False |
| HasDataObject | LodA | False |
| HasDataObject | CircA | False |
| HasDataObject | PhAng | False |
| HasDataObject | HiCtlV | False |
| HasDataObject | LoCtlV | False |
| HasDataObject | HiDmdA | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | LocSta | False |
| HasDataObject | Auto | False |
| HasDataObject | TapChg | False |
| HasDataObject | TapPos | False |
| HasDataObject | BndCtrChg | False |
| HasDataObject | ParOp | False |
| HasDataObject | LTCBlk | False |
| HasDataObject | LTCDragRs | False |
| HasDataObject | VRed | False |
| HasDataObject | BndCtr | False |
| HasDataObject | BndWid | False |
| HasDataObject | CtlDlTmms | False |
| HasDataObject | LDCR | False |
| HasDataObject | LDCX | False |
| HasDataObject | BlkLV | False |
| HasDataObject | BlkRV | False |
| HasDataObject | BlkVLo | False |
| HasDataObject | BlkVHi | False |
| HasDataObject | RnbkRV | False |
| HasDataObject | LimLodA | False |
| HasDataObject | LDC | False |
| HasDataObject | ParTraMod | False |
| HasDataObject | TmDlChr | False |
| HasDataObject | LDCZ | False |
| HasDataObject | VRedVal | False |
| HasDataObject | TapBlkR | False |
| HasDataObject | TapBlkL | False |

ENGParallelTransfModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

AVCO (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | BlkEF | False |
| HasDataObject | BlkAOv | False |
| HasDataObject | BlkVOv | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | LocSta | False |
| HasDataObject | TapChg | False |
| HasDataObject | VolSpt | False |
| HasDataObject | Auto | False |
| HasDataObject | LimAOv | False |
| HasDataObject | LimVOv | False |

CALH (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | GrAlm | False |
| HasDataObject | GrWrn | False |
| HasDataObject | GrInd | False |
| HasDataObject | AlmLstOv | False |

CCGR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Loc | False |
| HasDataObject | LocKey | False |
| HasDataObject | OpTmh | False |
| HasDataObject | FanOvCur | False |
| HasDataObject | PmpOvCur | False |
| HasDataObject | PmpAlm | False |
| HasDataObject | EnvTmp | False |
| HasDataObject | OilTmpIn | False |
| HasDataObject | OilTmpOut | False |
| HasDataObject | OilMotA | False |
| HasDataObject | FanFlw | False |
| HasDataObject | CETmpIn | False |
| HasDataObject | CETmpOut | False |
| HasDataObject | CEPres | False |
| HasDataObject | CEFlw | False |
| HasDataObject | FanA | False |
| HasDataObject | LocSta | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | CEBlk | False |
| HasDataObject | CECtl | False |
| HasDataObject | PmpCtlGen | False |
| HasDataObject | PmpCtl | False |
| HasDataObject | FanCtlGen | False |
| HasDataObject | FanCtl | False |
| HasDataObject | Auto | False |
| HasDataObject | OilTmpSet | False |

ENCStageControlKind (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | SelectWithVal |  |  | Mandatory |
| HasComponent | Method | TimeActivatedOperate |  |  | Mandatory |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

CILO (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EnaOpn | False |
| HasDataObject | EnaCls | False |

CPOW (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | TmExc | False |
| HasDataObject | StrPOW | False |
| HasDataObject | OpOpn | False |
| HasDataObject | OpCls | False |
| HasDataObject | Pos | False |
| HasDataObject | PosA | False |
| HasDataObject | PosB | False |
| HasDataObject | PosC | False |
| HasDataObject | MaxDlTmms | False |

CSWI (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | OpOpn | False |
| HasDataObject | SelOpn | False |
| HasDataObject | OpCls | False |
| HasDataObject | SelCls | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | LocSta | False |
| HasDataObject | Pos | False |
| HasDataObject | PosA | False |
| HasDataObject | PosB | False |
| HasDataObject | PosC | False |

CSYN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | Cmd | False |
| HasDataObject | Rel | False |
| HasDataObject | RV | False |
| HasDataObject | LV | False |
| HasDataObject | RHz | False |
| HasDataObject | LHz | False |
| HasDataObject | VInd | False |
| HasDataObject | AngInd | False |
| HasDataObject | HzInd | False |
| HasDataObject | RotDir | False |
| HasDataObject | DifVClc | False |
| HasDataObject | DifHzClc | False |
| HasDataObject | DifAngClc | False |
| HasDataObject | V1Clc | False |
| HasDataObject | V2Clc | False |
| HasDataObject | Hz1Clc | False |
| HasDataObject | Hz2Clc | False |
| HasDataObject | AccClc | False |
| HasDataObject | AccClcDev | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | LocSta | False |
| HasDataObject | SynPrg | False |
| HasDataObject | RelDeaBus | False |
| HasDataObject | OpModSyn | False |
| HasDataObject | VNom | False |
| HasDataObject | HzNom | False |
| HasDataObject | VAdpFact | False |
| HasDataObject | AdpAngDeg | False |
| HasDataObject | DlTmms | False |
| HasDataObject | MltCmd | False |
| HasDataObject | DifVNg | False |
| HasDataObject | DifVPs | False |
| HasDataObject | DifHzNg | False |
| HasDataObject | DifHzPs | False |
| HasDataObject | DifAngNg | False |
| HasDataObject | DifAngPs | False |
| HasDataObject | MinVSyn | False |
| HasDataObject | MaxVSyn | False |
| HasDataObject | DetSyn | False |
| HasDataObject | LivDeaMod | False |
| HasDataObject | DeaLinVal | False |
| HasDataObject | LivLinVal | False |
| HasDataObject | DeaBusVal | False |
| HasDataObject | LivBusVal | False |
| HasDataObject | VAdj | False |
| HasDataObject | VChr | False |
| HasDataObject | VIntvTmms | False |
| HasDataObject | MinVTmms | False |
| HasDataObject | MaxVTmms | False |
| HasDataObject | HzAdj | False |
| HasDataObject | HzChr | False |
| HasDataObject | HzIntvTmms | False |
| HasDataObject | MinHzTmms | False |
| HasDataObject | MaxHzTmms | False |
| HasDataObject | HzTgtVal | False |
| HasDataObject | KckPls | False |
| HasDataObject | DlSynTmms | False |
| HasDataObject | TotTmms | False |

ENSRotationalDirectionKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ENCSynchOperationModeKind (ObjectType)

IsAbstract: False

| Children |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference | NodeClass | SymbolicName | DataType | TypeDefinition | ModellingRule |
| HasComponent | Method | Operate |  |  | Mandatory |
| HasComponent | Method | SelectWithVal |  |  | Mandatory |
| HasComponent | Method | TimeActivatedOperate |  |  | Mandatory |

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ENGLiveDeadModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

FCNT (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Up | False |
| HasDataObject | Dn | False |
| HasDataObject | CntVal | False |

FCSD (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Out | False |
| HasDataObject | Crv | False |

FFIL (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Out | False |
| HasDataObject | ErrTerm | False |
| HasDataObject | FilTyp | False |
| HasDataObject | KP | False |
| HasDataObject | KLd | False |
| HasDataObject | KLg | False |
| HasDataObject | Tm1Tmms | False |
| HasDataObject | Tm1ldTmms | False |
| HasDataObject | Tm2Tmms | False |
| HasDataObject | Tm2ldTmms | False |
| HasDataObject | Tm3Tmms | False |
| HasDataObject | DeaBnd | False |

ENGFilterFunctionKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

FLIM (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | HiLim | False |
| HasDataObject | LoLim | False |
| HasDataObject | Out | False |
| HasDataObject | HiLimSpt | False |
| HasDataObject | LoLimSpt | False |

FPID (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Out | False |
| HasDataObject | PAct | False |
| HasDataObject | IAct | False |
| HasDataObject | DAct | False |
| HasDataObject | ErrTerm | False |
| HasDataObject | PIDAlg | False |
| HasDataObject | KP | False |
| HasDataObject | KI | False |
| HasDataObject | ITmms | False |
| HasDataObject | KD | False |
| HasDataObject | DTmms | False |
| HasDataObject | DFilTmms | False |
| HasDataObject | Bias | False |
| HasDataObject | ILim | False |
| HasDataObject | Droop | False |

ENGPIDAlgorithmKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

FRMP (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | AdjSt | False |
| HasDataObject | Out | False |
| HasDataObject | ErrTerm | False |
| HasDataObject | RmpUp | False |
| HasDataObject | RmpDn | False |
| HasDataObject | StepPs | False |
| HasDataObject | StepNg | False |

ENSAdjustmentKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

FSPT (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Loc | False |
| HasDataObject | LocKey | False |
| HasDataObject | SptDvAlm | False |
| HasDataObject | SptUp | False |
| HasDataObject | SptDn | False |
| HasDataObject | SptDir | False |
| HasDataObject | SptEndSt | False |
| HasDataObject | AdjSt | False |
| HasDataObject | SptMem | False |
| HasDataObject | ErrTerm | False |
| HasDataObject | Out | False |
| HasDataObject | LocSta | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | SptChg | False |
| HasDataObject | SptVal | False |
| HasDataObject | Auto | False |
| HasDataObject | MaxRst | False |
| HasDataObject | MinRst | False |
| HasDataObject | DvAlm | False |

ENSSetpointEndKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

FXOT (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Op | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | StrCrv | False |
| HasDataObject | RsDlTmms | False |

FXUT (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Op | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | StrCrv | False |
| HasDataObject | RsDlTmms | False |

GAPC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | Auto | False |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | Alm | False |
| HasDataObject | Wrn | False |
| HasDataObject | Ind | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | LocSta | False |
| HasDataObject | SPCSO | False |
| HasDataObject | DPCSO | False |
| HasDataObject | ISCSO | False |
| HasDataObject | StrVal | False |

GGIO (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | IntIn | False |
| HasDataObject | Alm | False |
| HasDataObject | Wrn | False |
| HasDataObject | Ind | False |
| HasDataObject | AnIn | False |
| HasDataObject | AnOut | False |
| HasDataObject | CntVal | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | LocSta | False |
| HasDataObject | SPCSO | False |
| HasDataObject | DPCSO | False |
| HasDataObject | ISCSO | False |

GLOG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | OpCntRs | False |
| HasDataObject | LogTrg | False |
| HasDataObject | LogRef | False |
| HasDataObject | TrgRef | False |

GSAL (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | AuthFail | False |
| HasDataObject | AcsCtlFail | False |
| HasDataObject | SvcViol | False |
| HasDataObject | Ina | False |
| HasDataObject | NumCntRs | False |
| HasDataObject | OpCntRs | False |

IARC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | MemOv | False |
| HasDataObject | MemUsed | False |
| HasDataObject | NumRcd | False |
| HasDataObject | InTrg | False |
| HasDataObject | InLog | False |
| HasDataObject | MaxNumRcd | False |
| HasDataObject | RcdMod | False |
| HasDataObject | MemFull | False |

ENGRecordingModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

IHMI (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | LocSta | False |

ISAF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | Alm | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | AlmReset | False |

ITCI (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | Loc | False |
| HasDataObject | LocKey | False |
| HasDataObject | Alm | False |
| HasDataObject | LocSta | False |

ITMI (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |

ITPC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | GrdRxCmdRx | False |
| HasDataObject | LosSig | False |
| HasDataObject | TxCmdCnt | False |
| HasDataObject | RxCmdCnt | False |
| HasDataObject | LosSyn | False |
| HasDataObject | Ber | False |
| HasDataObject | Fer | False |
| HasDataObject | CarLev | False |
| HasDataObject | Snr | False |
| HasDataObject | LoopTestTm | False |
| HasDataObject | NumTxCmd | False |
| HasDataObject | NumRxCmd | False |
| HasDataObject | TpcTxMod | False |
| HasDataObject | TpcRxMod | False |
| HasDataObject | SecTmms | False |
| HasDataObject | BstRat | False |
| HasDataObject | TxPwr | False |
| HasDataObject | TxCtrHz | False |
| HasDataObject | RxCtrHz | False |
| HasDataObject | TxBndWid | False |
| HasDataObject | RxBndWid | False |

ENGTpcAppModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

KFAN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | Loc | False |
| HasDataObject | LocKey | False |
| HasDataObject | OpTmh | False |
| HasDataObject | Spd | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCtl | False |
| HasDataObject | SpdSpt | False |
| HasDataObject | LocSta | False |
| HasDataObject | MinOpTmm | False |
| HasDataObject | MaxOpTmm | False |

KFIL (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | Loc | False |
| HasDataObject | LocKey | False |
| HasDataObject | ACAlm | False |
| HasDataObject | MotPro | False |
| HasDataObject | Flush | False |
| HasDataObject | FilAlm | False |
| HasDataObject | DifPresHi | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | FlushCnt | False |
| HasDataObject | OpCtl | False |
| HasDataObject | LocSta | False |
| HasDataObject | AlmSpt | False |

KPMP (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | Loc | False |
| HasDataObject | LocKey | False |
| HasDataObject | OpTmh | False |
| HasDataObject | Spd | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | OpCtl | False |
| HasDataObject | SpdSpt | False |
| HasDataObject | LocSta | False |
| HasDataObject | MinOpTmm | False |
| HasDataObject | MaxOpTmm | False |

KTNK (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | LevPct | False |
| HasDataObject | Vlm | False |
| HasDataObject | VlmCap | False |
| HasDataObject | TnkTyp | False |

ENGTankFillKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

KVLV (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpCnt | False |
| HasDataObject | Loc | False |
| HasDataObject | LocKey | False |
| HasDataObject | ClsPos | False |
| HasDataObject | OpnPos | False |
| HasDataObject | Mvm | False |
| HasDataObject | Stuck | False |
| HasDataObject | PosVlv | False |
| HasDataObject | Flw | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | PosSpt | False |
| HasDataObject | Pos | False |
| HasDataObject | PosChg | False |
| HasDataObject | PosChgIncr | False |
| HasDataObject | BlkOpn | False |
| HasDataObject | BlkCls | False |
| HasDataObject | LocSta | False |
| HasDataObject | OpnLim | False |
| HasDataObject | ClsLim | False |
| HasDataObject | Incr | False |

MENV (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | SmokAlm | False |
| HasDataObject | FloodAlm | False |
| HasDataObject | CO2Ems | False |
| HasDataObject | COEms | False |
| HasDataObject | NOxEms | False |
| HasDataObject | SOxEms | False |
| HasDataObject | Dust | False |
| HasDataObject | Snd | False |
| HasDataObject | O2CmbuGas | False |
| HasDataObject | O3Air | False |
| HasDataObject | CTrd | False |
| HasDataObject | CCdt | False |
| HasDataObject | GrnTag | False |
| HasDataObject | PartSens | False |
| HasDataObject | FloodLev | False |

MFLK (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | PPPst | False |
| HasDataObject | PhPst | False |
| HasDataObject | PPPlt | False |
| HasDataObject | PhPlt | False |
| HasDataObject | PPPiMax | False |
| HasDataObject | PhPiMax | False |
| HasDataObject | PPPiLoFil | False |
| HasDataObject | PhPiLoFil | False |
| HasDataObject | PPPiRoot | False |
| HasDataObject | PhPiRoot | False |
| HasDataObject | PPPcbLs | False |
| HasDataObject | PhPcbLs | False |
| HasDataObject | PPPcbLl | False |
| HasDataObject | PhPcbLl | False |
| HasDataObject | PPPdmWav | False |
| HasDataObject | PhPdmWav | False |
| HasDataObject | PPPdmSpec | False |
| HasDataObject | PhPdmSpec | False |

MHAI (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Hz | False |
| HasDataObject | HA | False |
| HasDataObject | HPhV | False |
| HasDataObject | HPPV | False |
| HasDataObject | HW | False |
| HasDataObject | HVAr | False |
| HasDataObject | HVA | False |
| HasDataObject | HRmsA | False |
| HasDataObject | HRmsPhV | False |
| HasDataObject | HRmsPPV | False |
| HasDataObject | HTuW | False |
| HasDataObject | HTsW | False |
| HasDataObject | HATm | False |
| HasDataObject | HKf | False |
| HasDataObject | HTdf | False |
| HasDataObject | ThdA | False |
| HasDataObject | ThdOddA | False |
| HasDataObject | ThdEvnA | False |
| HasDataObject | TddA | False |
| HasDataObject | TddOddA | False |
| HasDataObject | TddEvnA | False |
| HasDataObject | ThdPhV | False |
| HasDataObject | ThdOddPhV | False |
| HasDataObject | ThdEvnPhV | False |
| HasDataObject | ThdPPV | False |
| HasDataObject | ThdOddPPV | False |
| HasDataObject | ThdEvnPPV | False |
| HasDataObject | HCfPhV | False |
| HasDataObject | HCfPPV | False |
| HasDataObject | HCfA | False |
| HasDataObject | HTif | False |
| HasDataObject | HzSet | False |
| HasDataObject | EvTmms | False |
| HasDataObject | NumCyc | False |
| HasDataObject | ThdAVal | False |
| HasDataObject | ThdVVal | False |
| HasDataObject | ThdATmms | False |
| HasDataObject | ThdVTmms | False |
| HasDataObject | NomA | False |

MHAN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Hz | False |
| HasDataObject | HaAmp | False |
| HasDataObject | HaVol | False |
| HasDataObject | HaWatt | False |
| HasDataObject | HaVolAmpr | False |
| HasDataObject | HaVolAmp | False |
| HasDataObject | HaRmsAmp | False |
| HasDataObject | HaRmsVol | False |
| HasDataObject | HaTuWatt | False |
| HasDataObject | HaTsWatt | False |
| HasDataObject | HaAmpTm | False |
| HasDataObject | HaKFact | False |
| HasDataObject | HaTdFact | False |
| HasDataObject | ThdAmp | False |
| HasDataObject | ThdOddAmp | False |
| HasDataObject | ThdEvnAmp | False |
| HasDataObject | TddAmp | False |
| HasDataObject | TddOddAmp | False |
| HasDataObject | TddEvnAmp | False |
| HasDataObject | ThdVol | False |
| HasDataObject | ThdOddVol | False |
| HasDataObject | ThdEvnVol | False |
| HasDataObject | HaCfAmp | False |
| HasDataObject | HaCfVol | False |
| HasDataObject | HaTiFact | False |
| HasDataObject | HzSet | False |
| HasDataObject | EvTmms | False |
| HasDataObject | NumCyc | False |
| HasDataObject | ThdAVal | False |
| HasDataObject | ThdVVal | False |
| HasDataObject | ThdATmms | False |
| HasDataObject | ThdVTmms | False |
| HasDataObject | NomA | False |

MHYD (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Lev | False |
| HasDataObject | Flw | False |
| HasDataObject | SpdSrfc | False |
| HasDataObject | Tmp | False |
| HasDataObject | Cndct | False |
| HasDataObject | HydPH | False |
| HasDataObject | Slnt | False |
| HasDataObject | FishCnt | False |

MMDC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Watt | False |
| HasDataObject | Amp | False |
| HasDataObject | Vol | False |
| HasDataObject | VolPsGnd | False |
| HasDataObject | VolNgGnd | False |
| HasDataObject | Ris | False |
| HasDataObject | RisPsGnd | False |
| HasDataObject | RisNgGnd | False |

MMET (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EnvTmp | False |
| HasDataObject | WetBlbTmp | False |
| HasDataObject | CloudCvr | False |
| HasDataObject | EnvHum | False |
| HasDataObject | DewPt | False |
| HasDataObject | DffInsol | False |
| HasDataObject | DctInsol | False |
| HasDataObject | DlDur | False |
| HasDataObject | HorInsol | False |
| HasDataObject | HorWdDir | False |
| HasDataObject | HorWdSpd | False |
| HasDataObject | VerWdDir | False |
| HasDataObject | VerWdSpd | False |
| HasDataObject | WdGustSpd | False |
| HasDataObject | EnvPres | False |
| HasDataObject | RnFll | False |
| HasDataObject | SnwDen | False |
| HasDataObject | SnwTmp | False |
| HasDataObject | SnwCvr | False |
| HasDataObject | SnwFll | False |
| HasDataObject | SnwEq | False |

MMTN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | TotVAh | False |
| HasDataObject | TotWh | False |
| HasDataObject | TotVArh | False |
| HasDataObject | SupWh | False |
| HasDataObject | SupVArh | False |
| HasDataObject | DmdWh | False |
| HasDataObject | DmdVArh | False |

MMTR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | TotVAh | False |
| HasDataObject | TotWh | False |
| HasDataObject | TotVArh | False |
| HasDataObject | SupWh | False |
| HasDataObject | SupVArh | False |
| HasDataObject | DmdWh | False |
| HasDataObject | DmdVArh | False |

MMXN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Amp | False |
| HasDataObject | Vol | False |
| HasDataObject | Watt | False |
| HasDataObject | VolAmpr | False |
| HasDataObject | VolAmp | False |
| HasDataObject | PwrFact | False |
| HasDataObject | Imp | False |
| HasDataObject | Hz | False |

MMXU (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | TotW | False |
| HasDataObject | TotVAr | False |
| HasDataObject | TotVA | False |
| HasDataObject | TotPF | False |
| HasDataObject | Hz | False |
| HasDataObject | PPV | False |
| HasDataObject | PNV | False |
| HasDataObject | PhV | False |
| HasDataObject | A | False |
| HasDataObject | W | False |
| HasDataObject | VAr | False |
| HasDataObject | VA | False |
| HasDataObject | PF | False |
| HasDataObject | Z | False |
| HasDataObject | AvAPhs | False |
| HasDataObject | AvPPVPhs | False |
| HasDataObject | AvPhVPhs | False |
| HasDataObject | AvWPhs | False |
| HasDataObject | AvVAPhs | False |
| HasDataObject | AvVArPhs | False |
| HasDataObject | AvPFPhs | False |
| HasDataObject | AvZPhs | False |
| HasDataObject | MaxAPhs | False |
| HasDataObject | MaxPPVPhs | False |
| HasDataObject | MaxPhVPhs | False |
| HasDataObject | MaxWPhs | False |
| HasDataObject | MaxVAPhs | False |
| HasDataObject | MaxVArPhs | False |
| HasDataObject | MaxPFPhs | False |
| HasDataObject | MaxZPhs | False |
| HasDataObject | MinAPhs | False |
| HasDataObject | MinPPVPhs | False |
| HasDataObject | MinPhVPhs | False |
| HasDataObject | MinWPhs | False |
| HasDataObject | MinVAPhs | False |
| HasDataObject | MinVArPhs | False |
| HasDataObject | MinPFPhs | False |
| HasDataObject | MinZPhs | False |
| HasDataObject | ClcTotVA | False |
| HasDataObject | PFSign | False |

ENGSTotalCalcMethodKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

ENGPFSignKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

MSQI (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | SeqA | False |
| HasDataObject | SeqV | False |
| HasDataObject | DQ0Seq | False |
| HasDataObject | ImbA | False |
| HasDataObject | ImbNgA | False |
| HasDataObject | ImbNgV | False |
| HasDataObject | ImbPPV | False |
| HasDataObject | ImbV | False |
| HasDataObject | ImbZroA | False |
| HasDataObject | ImbZroV | False |
| HasDataObject | MaxImbA | False |
| HasDataObject | MaxImbPPV | False |
| HasDataObject | MaxImbV | False |

PDIF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | TmASt | False |
| HasDataObject | DifAClc | False |
| HasDataObject | RstA | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | LinCapac | False |
| HasDataObject | LoSet | False |
| HasDataObject | HiSet | False |
| HasDataObject | MinOpTmms | False |
| HasDataObject | MaxOpTmms | False |
| HasDataObject | RstMod | False |
| HasDataObject | RsDlTmms | False |
| HasDataObject | TmACrv | False |
| HasDataObject | TmAChr | False |

ENGRestraintModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

PDIR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | RsDlTmms | False |

PDIS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | PoRch | False |
| HasDataObject | PhStr | False |
| HasDataObject | GndStr | False |
| HasDataObject | DirMod | False |
| HasDataObject | PctRch | False |
| HasDataObject | Ofs | False |
| HasDataObject | PctOfs | False |
| HasDataObject | RisLod | False |
| HasDataObject | AngLod | False |
| HasDataObject | TmDlMod | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | PhDlMod | False |
| HasDataObject | PhDlTmms | False |
| HasDataObject | GndDlMod | False |
| HasDataObject | GndDlTmms | False |
| HasDataObject | X1 | False |
| HasDataObject | LinAng | False |
| HasDataObject | RisGndRch | False |
| HasDataObject | RisPhRch | False |
| HasDataObject | K0Fact | False |
| HasDataObject | K0FactAng | False |
| HasDataObject | RsDlTmms | False |

ENGDirectionModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

PDOP (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | DirMod | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |

PDUP (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |
| HasDataObject | DirMod | False |

PFRC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | BlkV | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |
| HasDataObject | BlkVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |

PHAR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | HaRst | False |
| HasDataObject | PhStr | False |
| HasDataObject | PhStop | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |

PHIZ (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | AStr | False |
| HasDataObject | VStr | False |
| HasDataObject | HVStr | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |

PIOC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |

PMRI (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Op | False |
| HasDataObject | StrInh | False |
| HasDataObject | StrInhTmm | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | SetA | False |
| HasDataObject | SetTms | False |
| HasDataObject | MaxNumStr | False |
| HasDataObject | MaxWrmStr | False |
| HasDataObject | MaxStrTmm | False |
| HasDataObject | EqTmm | False |
| HasDataObject | InhTmm | False |

PMSS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | SetA | False |
| HasDataObject | SetTms | False |
| HasDataObject | MotStr | False |
| HasDataObject | LokRotTms | False |

POPF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | BlkA | False |
| HasDataObject | BlkV | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |
| HasDataObject | BlkValA | False |
| HasDataObject | BlkValV | False |

PPAM (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |

PRTR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |

PSCH (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | TxPrm | False |
| HasDataObject | TxBlk | False |
| HasDataObject | TxTr | False |
| HasDataObject | RxPrm | False |
| HasDataObject | RxBlk | False |
| HasDataObject | RxTr | False |
| HasDataObject | Op | False |
| HasDataObject | EchoWei | False |
| HasDataObject | EchoWeiOp | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | RxSrc | False |
| HasDataObject | RxSrcTr | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | CrdTmms | False |
| HasDataObject | DurTmms | False |
| HasDataObject | UnBlkMod | False |
| HasDataObject | UnBlkTmms | False |
| HasDataObject | WeiMod | False |
| HasDataObject | WeiTmms | False |

ENGUnblockModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

ENGWeakEndInfeedModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

PSDE (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | FltIndRs | False |
| HasDataObject | Ang | False |
| HasDataObject | GndStr | False |
| HasDataObject | GndOp | False |
| HasDataObject | StrDlTmms | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | DirMod | False |

PTEF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | FltIndRs | False |
| HasDataObject | GndStr | False |
| HasDataObject | DirMod | False |

PTHF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |

PTOC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | TmACrv | False |
| HasDataObject | TmAChr | False |
| HasDataObject | TmASt | False |
| HasDataObject | StrVal | False |
| HasDataObject | TmMult | False |
| HasDataObject | MinOpTmms | False |
| HasDataObject | MaxOpTmms | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | TypRsCrv | False |
| HasDataObject | RsDlTmms | False |
| HasDataObject | DirMod | False |

ENGResetCurveKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

PTOF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | BlkV | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |
| HasDataObject | BlkVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |

PTOV (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | TmVCrv | False |
| HasDataObject | TmVChr | False |
| HasDataObject | TmVSt | False |
| HasDataObject | StrVal | False |
| HasDataObject | TmMult | False |
| HasDataObject | MinOpTmms | False |
| HasDataObject | MaxOpTmms | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |

PTRC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Tr | False |
| HasDataObject | Op | False |
| HasDataObject | Str | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | TrMod | False |
| HasDataObject | TrPlsTmms | False |

ENGTripModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

PTTR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | AlmThm | False |
| HasDataObject | BlkThm | False |
| HasDataObject | Amp | False |
| HasDataObject | Tmp | False |
| HasDataObject | TmpRl | False |
| HasDataObject | LodRsvAlm | False |
| HasDataObject | LodRsvTr | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | TmTmpCrv | False |
| HasDataObject | TmTmpChr | False |
| HasDataObject | TmACrv | False |
| HasDataObject | TmAChr | False |
| HasDataObject | TmTmpSt | False |
| HasDataObject | TmASt | False |
| HasDataObject | TmpMax | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | MinOpTmms | False |
| HasDataObject | MaxOpTmms | False |
| HasDataObject | RsDlTmms | False |
| HasDataObject | ConsTms | False |
| HasDataObject | AlmVal | False |
| HasDataObject | DropoutVal | False |

PTUC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | TmACrv | False |
| HasDataObject | TmAChr | False |
| HasDataObject | TmASt | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | TmMult | False |
| HasDataObject | MinOpTmms | False |
| HasDataObject | MaxOpTmms | False |
| HasDataObject | TypRsCrv | False |
| HasDataObject | RsDlTmms | False |
| HasDataObject | DirMod | False |

PTUF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | BlkV | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |
| HasDataObject | BlkVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |

PTUV (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | TmVCrv | False |
| HasDataObject | TmVChr | False |
| HasDataObject | TmVSt | False |
| HasDataObject | StrVal | False |
| HasDataObject | TmMult | False |
| HasDataObject | MinOpTmms | False |
| HasDataObject | MaxOpTmms | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |

PUPF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | BlkA | False |
| HasDataObject | BlkV | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |
| HasDataObject | BlkValA | False |
| HasDataObject | BlkValV | False |

PVOC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | AVCrv | False |
| HasDataObject | AVChr | False |
| HasDataObject | TmACrv | False |
| HasDataObject | TmAChr | False |
| HasDataObject | AVSt | False |
| HasDataObject | TmASt | False |
| HasDataObject | TmMult | False |
| HasDataObject | MinOpTmms | False |
| HasDataObject | MaxOpTmms | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | TypRsCrv | False |
| HasDataObject | RsDlTmms | False |

PVPH (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | VHzCrv | False |
| HasDataObject | VHzChr | False |
| HasDataObject | VHzSt | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | TypRsCrv | False |
| HasDataObject | RsDlTmms | False |
| HasDataObject | TmMult | False |
| HasDataObject | MinOpTmms | False |
| HasDataObject | MaxOpTmms | False |

PZSU (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |
| HasDataObject | OpDlTmms | False |
| HasDataObject | RsDlTmms | False |

QFVR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | VarStr | False |
| HasDataObject | UnHzStr | False |
| HasDataObject | OvHzStr | False |
| HasDataObject | VarEnd | False |
| HasDataObject | HzVaTm | False |
| HasDataObject | HzVaMag | False |
| HasDataObject | EvtCnt | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | UnHzStrVal | False |
| HasDataObject | OvHzStrVal | False |

QITR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | VarStr | False |
| HasDataObject | VarEnd | False |
| HasDataObject | ATrsTm | False |
| HasDataObject | MaxATrs | False |
| HasDataObject | EvtCnt | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |

QIUB (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | VarStr | False |
| HasDataObject | VarEnd | False |
| HasDataObject | AVaTm | False |
| HasDataObject | MaxAVa | False |
| HasDataObject | EvtCnt | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | UnbDetMth | False |
| HasDataObject | StrVal | False |

ENGUnbalanceDetectionKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

QVTR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | VarStr | False |
| HasDataObject | VarEnd | False |
| HasDataObject | VTrsTm | False |
| HasDataObject | MaxVTrs | False |
| HasDataObject | EvtCnt | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | StrVal | False |

QVUB (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | VarStr | False |
| HasDataObject | VarEnd | False |
| HasDataObject | VVaTm | False |
| HasDataObject | MaxVVa | False |
| HasDataObject | EvtCnt | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | UnbDetMth | False |
| HasDataObject | StrVal | False |

QVVR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | VarStr | False |
| HasDataObject | DipStr | False |
| HasDataObject | SwlStr | False |
| HasDataObject | IntrStr | False |
| HasDataObject | VarEnd | False |
| HasDataObject | VVa | False |
| HasDataObject | EvtCnt | False |
| HasDataObject | VVaTm | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | DipStrVal | False |
| HasDataObject | SwlStrVal | False |
| HasDataObject | IntrStrVal | False |
| HasDataObject | IntrDetMth | False |

ENGVoltInterruptDetectionKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

RADR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | ChTrg | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | ChNum | False |
| HasDataObject | TrgMod | False |
| HasDataObject | LevMod | False |
| HasDataObject | HiTrgLev | False |
| HasDataObject | LoTrgLev | False |
| HasDataObject | PreTmms | False |
| HasDataObject | PstTmms | False |
| HasDataObject | SrcRef | False |

ENGTriggerSourceKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

ENGLevelTriggerModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

RBDR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | ChTrg | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | ChNum | False |
| HasDataObject | TrgMod | False |
| HasDataObject | LevMod | False |
| HasDataObject | PreTmms | False |
| HasDataObject | PstTmms | False |
| HasDataObject | SrcRef | False |

RBRF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | OpEx | False |
| HasDataObject | OpIn | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | FailMod | False |
| HasDataObject | FailTmms | False |
| HasDataObject | SPlTrTmms | False |
| HasDataObject | TPTrTmms | False |
| HasDataObject | DetValA | False |
| HasDataObject | ReTrMod | False |

ENGFailureDetectionKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

ENGRetripModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

RDIR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Dir | False |
| HasDataObject | ChrAng | False |
| HasDataObject | MinFwdAng | False |
| HasDataObject | MinRvAng | False |
| HasDataObject | MaxFwdAng | False |
| HasDataObject | MaxRvAng | False |
| HasDataObject | BlkValA | False |
| HasDataObject | BlkValV | False |
| HasDataObject | PolQty | False |
| HasDataObject | MinPPV | False |

ENGPolarizingQuantityKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

RDRE (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | RcdMade | False |
| HasDataObject | FltNum | False |
| HasDataObject | GriFltNum | False |
| HasDataObject | RcdStr | False |
| HasDataObject | MemUsed | False |
| HasDataObject | RcdTrg | False |
| HasDataObject | MemRs | False |
| HasDataObject | MemClr | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | TrgMod | False |
| HasDataObject | LevMod | False |
| HasDataObject | PreTmms | False |
| HasDataObject | PstTmms | False |
| HasDataObject | MemFull | False |
| HasDataObject | MaxNumRcd | False |
| HasDataObject | ReTrgMod | False |
| HasDataObject | PerTrgTms | False |
| HasDataObject | ExclTmms | False |
| HasDataObject | RcdMod | False |
| HasDataObject | StoRte | False |

RDRS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | AutoUpLod | False |
| HasDataObject | DltRcd | False |

RFLO (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | FltLoop | False |
| HasDataObject | FltZ | False |
| HasDataObject | FltDiskm | False |
| HasDataObject | OpCntRs | False |

ENSFaultLoopKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

RMXU (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | ALoc | False |
| HasDataObject | AmpLocPhsA | False |
| HasDataObject | AmpLocPhsB | False |
| HasDataObject | AmpLocPhsC | False |
| HasDataObject | AmpLocRes | False |

RPSB (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Str | False |
| HasDataObject | Op | False |
| HasDataObject | BlkZn | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | ZeroEna | False |
| HasDataObject | NgEna | False |
| HasDataObject | MaxEna | False |
| HasDataObject | SwgVal | False |
| HasDataObject | SwgRis | False |
| HasDataObject | SwgReact | False |
| HasDataObject | SwgTmms | False |
| HasDataObject | UnBlkTmms | False |
| HasDataObject | MaxNumSlp | False |
| HasDataObject | EvTmms | False |

RREC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | TrBeh | False |
| HasDataObject | RecCyc | False |
| HasDataObject | OpCls | False |
| HasDataObject | AutoRecSt | False |
| HasDataObject | CycTrMod | False |
| HasDataObject | MaxCyc | False |
| HasDataObject | UseCyc | False |
| HasDataObject | MaxTmms | False |
| HasDataObject | Rec1Tmms | False |
| HasDataObject | Rec13Tmms | False |
| HasDataObject | Rec3Tmms | False |
| HasDataObject | RclTmms | False |
| HasDataObject | RdyTmms | False |

ENSTripBehaviourKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ENSAutoReclosingKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

RSYN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Rel | False |
| HasDataObject | VInd | False |
| HasDataObject | AngInd | False |
| HasDataObject | HzInd | False |
| HasDataObject | DifVClc | False |
| HasDataObject | DifHzClc | False |
| HasDataObject | DifAngClc | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | SynPrg | False |
| HasDataObject | DifV | False |
| HasDataObject | DifHz | False |
| HasDataObject | DifAng | False |
| HasDataObject | LivDeaMod | False |
| HasDataObject | DeaLinVal | False |
| HasDataObject | LivLinVal | False |
| HasDataObject | DeaBusVal | False |
| HasDataObject | LivBusVal | False |
| HasDataObject | TotTmms | False |

SARC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | FADet | False |
| HasDataObject | SwArcDet | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | FACntRs | False |
| HasDataObject | ArcCntRs | False |

SCBR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | ColOpn | False |
| HasDataObject | AbrAlm | False |
| HasDataObject | AbrWrn | False |
| HasDataObject | MechHealth | False |
| HasDataObject | OpTmAlm | False |
| HasDataObject | ColAlm | False |
| HasDataObject | OpCntAlm | False |
| HasDataObject | OpCntWrn | False |
| HasDataObject | OpTmWrn | False |
| HasDataObject | OpTmh | False |
| HasDataObject | AccAbr | False |
| HasDataObject | SwA | False |
| HasDataObject | ActAbr | False |
| HasDataObject | AuxSwTmOpn | False |
| HasDataObject | AuxSwTmCls | False |
| HasDataObject | RctTmOpn | False |
| HasDataObject | RctTmCls | False |
| HasDataObject | OpSpdOpn | False |
| HasDataObject | OpSpdCls | False |
| HasDataObject | OpTmOpn | False |
| HasDataObject | OpTmCls | False |
| HasDataObject | Stk | False |
| HasDataObject | OvStkOpn | False |
| HasDataObject | OvStkCls | False |
| HasDataObject | ColA | False |
| HasDataObject | Tmp | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | AbrAlmLev | False |
| HasDataObject | AbrWrnLev | False |
| HasDataObject | OpAlmTmh | False |
| HasDataObject | OpWrnTmh | False |
| HasDataObject | OpAlmNum | False |
| HasDataObject | OpWrnNum | False |

SIMG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | InsAlm | False |
| HasDataObject | InsBlk | False |
| HasDataObject | InsTr | False |
| HasDataObject | PresAlm | False |
| HasDataObject | DenAlm | False |
| HasDataObject | TmpAlm | False |
| HasDataObject | InsLevMax | False |
| HasDataObject | InsLevMin | False |
| HasDataObject | Pres | False |
| HasDataObject | Den | False |
| HasDataObject | Tmp | False |
| HasDataObject | InsBlkTmh | False |
| HasDataObject | OpCntRs | False |

SIML (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | InsAlm | False |
| HasDataObject | InsBlk | False |
| HasDataObject | InsTr | False |
| HasDataObject | TmpAlm | False |
| HasDataObject | GasInsAlm | False |
| HasDataObject | GasInsTr | False |
| HasDataObject | GasFlwTr | False |
| HasDataObject | InsLevMax | False |
| HasDataObject | InsLevMin | False |
| HasDataObject | H2Alm | False |
| HasDataObject | H2Wrn | False |
| HasDataObject | MstAlm | False |
| HasDataObject | MstWrn | False |
| HasDataObject | Tmp | False |
| HasDataObject | Lev | False |
| HasDataObject | Pres | False |
| HasDataObject | H2O | False |
| HasDataObject | H2OPap | False |
| HasDataObject | H2OAir | False |
| HasDataObject | H2OTmp | False |
| HasDataObject | H2ppm | False |
| HasDataObject | N2ppm | False |
| HasDataObject | COppm | False |
| HasDataObject | CO2ppm | False |
| HasDataObject | CH4ppm | False |
| HasDataObject | C2H2ppm | False |
| HasDataObject | C2H4ppm | False |
| HasDataObject | C2H6ppm | False |
| HasDataObject | O2ppm | False |
| HasDataObject | CmbuGas | False |
| HasDataObject | FltGas | False |
| HasDataObject | OpCntRs | False |

SLTC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | OilFil | False |
| HasDataObject | MotDrvBlk | False |
| HasDataObject | VacCelAlm | False |
| HasDataObject | OilFilTr | False |
| HasDataObject | Torq | False |
| HasDataObject | MotDrvA | False |
| HasDataObject | AbrPrt | False |
| HasDataObject | OpCntRs | False |

SOPM (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | MotOp | False |
| HasDataObject | MotStrAlm | False |
| HasDataObject | HyAlm | False |
| HasDataObject | HyBlk | False |
| HasDataObject | EnBlk | False |
| HasDataObject | EnAlm | False |
| HasDataObject | MotAlm | False |
| HasDataObject | HeatAlm | False |
| HasDataObject | ChaIntvTms | False |
| HasDataObject | MotStrNum | False |
| HasDataObject | En | False |
| HasDataObject | HyPres | False |
| HasDataObject | HyTmp | False |
| HasDataObject | MotTm | False |
| HasDataObject | MotA | False |
| HasDataObject | Tmp | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | MotAlmTms | False |
| HasDataObject | MotAlmNum | False |
| HasDataObject | MotStrTms | False |

SPDC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | PaDschAlm | False |
| HasDataObject | OpCnt | False |
| HasDataObject | AcuPaDsch | False |
| HasDataObject | AppPaDsch | False |
| HasDataObject | NQS | False |
| HasDataObject | UhfPaDsch | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | CtrHz | False |
| HasDataObject | BndWid | False |

SPTR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | HPTmpAlm | False |
| HasDataObject | HPTmpOp | False |
| HasDataObject | HPTmpTr | False |
| HasDataObject | MbrAlm | False |
| HasDataObject | CGAlm | False |
| HasDataObject | HeatAlm | False |
| HasDataObject | AgeRte | False |
| HasDataObject | BotTmp | False |
| HasDataObject | CoreTmp | False |
| HasDataObject | HPTmpClc | False |
| HasDataObject | OpCntRs | False |

SSWI (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | OpTmAlm | False |
| HasDataObject | OpCntAlm | False |
| HasDataObject | OpCntWrn | False |
| HasDataObject | OpTmWrn | False |
| HasDataObject | OpTmh | False |
| HasDataObject | MechHealth | False |
| HasDataObject | AccAbr | False |
| HasDataObject | AuxSwTmOpn | False |
| HasDataObject | AuxSwTmCls | False |
| HasDataObject | RctTmOpn | False |
| HasDataObject | RctTmCls | False |
| HasDataObject | OpSpdOpn | False |
| HasDataObject | OpSpdCls | False |
| HasDataObject | OpTmOpn | False |
| HasDataObject | OpTmCls | False |
| HasDataObject | Stk | False |
| HasDataObject | OvStkOpn | False |
| HasDataObject | OvStkCls | False |
| HasDataObject | ColA | False |
| HasDataObject | Tmp | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | OpAlmTmh | False |
| HasDataObject | OpWrnTmh | False |
| HasDataObject | OpAlmNum | False |
| HasDataObject | OpWrnNum | False |

STMP (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Alm | False |
| HasDataObject | Trip | False |
| HasDataObject | Tmp | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | TmpAlmSpt | False |
| HasDataObject | TmpTripSpt | False |

SVBR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | Alm | False |
| HasDataObject | Trip | False |
| HasDataObject | Vbr | False |
| HasDataObject | AxDsp | False |
| HasDataObject | OpCntRs | False |
| HasDataObject | VbrAlmSpt | False |
| HasDataObject | VbrTripSpt | False |
| HasDataObject | AxDAlmSpt | False |
| HasDataObject | AxDTripSpt | False |

TANG (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | AngSv | False |
| HasDataObject | SmpRte | False |

TAXD (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | AxDspSv | False |
| HasDataObject | SmpRte | False |

TCTR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | AmpSv | False |
| HasDataObject | ARtg | False |
| HasDataObject | HzRtg | False |
| HasDataObject | Rat | False |
| HasDataObject | Cor | False |
| HasDataObject | AngCor | False |
| HasDataObject | CorCrv | False |

TDST (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | DisSv | False |
| HasDataObject | SmpRte | False |

TFLW (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | FlwSv | False |
| HasDataObject | SmpRte | False |

TFRQ (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | HzSv | False |
| HasDataObject | SmpRte | False |

TGSN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | GenSv | False |
| HasDataObject | SmpRte | False |

THUM (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | HumSv | False |
| HasDataObject | SmpRte | False |

TLVL (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | LevPctSv | False |
| HasDataObject | SmpRte | False |

TMGF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | MagFldSv | False |
| HasDataObject | SmpRte | False |

TMVM (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | MvmRteSv | False |
| HasDataObject | SmpRte | False |

TPOS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | PosPctSv | False |
| HasDataObject | SmpRte | False |

TPRS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | PresSv | False |
| HasDataObject | SmpRte | False |

TRTN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | RotSpdSv | False |
| HasDataObject | SmpRte | False |

TSND (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | SndSv | False |
| HasDataObject | SmpRte | False |

TTMP (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | TmpSv | False |
| HasDataObject | SmpRte | False |

TTNS (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | TnsSv | False |
| HasDataObject | SmpRte | False |

TVBR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | VbrSv | False |
| HasDataObject | SmpRte | False |

TVTR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | FuFail | False |
| HasDataObject | VolSv | False |
| HasDataObject | VRtg | False |
| HasDataObject | HzRtg | False |
| HasDataObject | Rat | False |
| HasDataObject | Cor | False |
| HasDataObject | AngCor | False |
| HasDataObject | CorCrv | False |

TWPH (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | H2OPhSv | False |
| HasDataObject | SmpRte | False |

XCBR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | OpCnt | False |
| HasDataObject | CBOpCap | False |
| HasDataObject | POWCap | False |
| HasDataObject | MaxOpCap | False |
| HasDataObject | Dsc | False |
| HasDataObject | SumSwARs | False |
| HasDataObject | LocSta | False |
| HasDataObject | Pos | False |
| HasDataObject | BlkOpn | False |
| HasDataObject | BlkCls | False |
| HasDataObject | ChaMotEna | False |
| HasDataObject | CBTmms | False |

ENSBreakerOpCapabilityKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ENSPOWSwitchingCapabilityKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

XSWI (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | OpCnt | False |
| HasDataObject | SwTyp | False |
| HasDataObject | SwOpCap | False |
| HasDataObject | MaxOpCap | False |
| HasDataObject | Dsc | False |
| HasDataObject | LocSta | False |
| HasDataObject | Pos | False |
| HasDataObject | BlkOpn | False |
| HasDataObject | BlkCls | False |
| HasDataObject | ChaMotEna | False |

ENSSwitchFunctionKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ENSSwitchingCapabilityKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

YEFN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | OpTmh | False |
| HasDataObject | EndPosR | False |
| HasDataObject | EndPosL | False |
| HasDataObject | PotAlm | False |
| HasDataObject | MotAlm | False |
| HasDataObject | ColPosA | False |
| HasDataObject | ColAEFN | False |
| HasDataObject | NeutVol | False |
| HasDataObject | LocSta | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | ColTapPos | False |
| HasDataObject | ColPos | False |
| HasDataObject | ColChg | False |

YLTC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | Loc | False |
| HasDataObject | LocKey | False |
| HasDataObject | OpCnt | False |
| HasDataObject | EndPosR | False |
| HasDataObject | EndPosL | False |
| HasDataObject | OoStep | False |
| HasDataObject | LTCCycAlm | False |
| HasDataObject | BlkLoVisc | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | LocSta | False |
| HasDataObject | TapPos | False |
| HasDataObject | TapChg | False |

YPSH (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | Loc | False |
| HasDataObject | LocKey | False |
| HasDataObject | OpTmh | False |
| HasDataObject | ShOpCap | False |
| HasDataObject | MaxOpCap | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | LocSta | False |
| HasDataObject | Pos | False |
| HasDataObject | BlkOpn | False |
| HasDataObject | BlkCls | False |
| HasDataObject | ChaMotEna | False |

YPTR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | OpNoLod | False |
| HasDataObject | OpOvA | False |
| HasDataObject | OpOvV | False |
| HasDataObject | OpUnV | False |
| HasDataObject | LodFact | False |
| HasDataObject | MaxVA | False |
| HasDataObject | OvlTm | False |
| HasDataObject | OvlTEmg | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | HiVRtg | False |
| HasDataObject | LoVRtg | False |
| HasDataObject | VARtg | False |
| HasDataObject | MaxVASpt | False |
| HasDataObject | OvlTmSpt | False |
| HasDataObject | OvlTEmgSpt | False |

ZAXN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | Vol | False |
| HasDataObject | Amp | False |

ZBAT (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | TestRsl | False |
| HasDataObject | BatHi | False |
| HasDataObject | BatLo | False |
| HasDataObject | Vol | False |
| HasDataObject | VolChgRte | False |
| HasDataObject | Amp | False |
| HasDataObject | BatTest | False |
| HasDataObject | LoBatVal | False |
| HasDataObject | HiBatVal | False |

ZBSH (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | React | False |
| HasDataObject | AbsReact | False |
| HasDataObject | LosFact | False |
| HasDataObject | Vol | False |
| HasDataObject | DisplA | False |
| HasDataObject | LeakA | False |
| HasDataObject | RefReact | False |
| HasDataObject | RefPF | False |
| HasDataObject | RefV | False |

ZCAB (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |

ZCAP (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | DschBlk | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | CapDS | False |

ZCON (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | VArRtg | False |
| HasDataObject | VRtg | False |

ZGEN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | GnSt | False |
| HasDataObject | OpNoLod | False |
| HasDataObject | RotDir | False |
| HasDataObject | OpUnExt | False |
| HasDataObject | OpOvExt | False |
| HasDataObject | LosOil | False |
| HasDataObject | LosVac | False |
| HasDataObject | PresAlm | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | GnCtl | False |
| HasDataObject | DExt | False |
| HasDataObject | AuxSco | False |
| HasDataObject | VArR | False |
| HasDataObject | VArL | False |
| HasDataObject | GnSpd | False |
| HasDataObject | DmdW | False |
| HasDataObject | WRtg | False |
| HasDataObject | VARtg | False |
| HasDataObject | VRtg | False |

ENSRotatingMachineStateKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ZGIL (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |

ZLIN (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | LinLenkm | False |
| HasDataObject | RPs | False |
| HasDataObject | XPs | False |
| HasDataObject | RZer | False |
| HasDataObject | XZer | False |
| HasDataObject | ZPsMag | False |
| HasDataObject | ZPsAng | False |
| HasDataObject | ZZerMag | False |
| HasDataObject | ZZerAng | False |
| HasDataObject | RmZer | False |
| HasDataObject | XmZer | False |
| HasDataObject | ZmZerMag | False |
| HasDataObject | ZmZerAng | False |

ZMOT (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | MotSt | False |
| HasDataObject | RotThmSt | False |
| HasDataObject | LosOil | False |
| HasDataObject | LosVac | False |
| HasDataObject | PresAlm | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | DExt | False |

ENSRotorThermalStateKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | stVal | False |
| HasDataAttribute | subVal | False |

ZREA (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | VRtg | False |
| HasDataObject | ARtg | False |
| HasDataObject | VARtg | False |
| HasDataObject | VArRtg | False |

ZRES (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |

ZRRC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | LocKey | False |
| HasDataObject | Loc | False |
| HasDataObject | GnSt | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | LocSta | False |
| HasDataObject | GnCtl | False |
| HasDataObject | GnSpd | False |

ZSAR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpCnt | False |
| HasDataObject | OpSar | False |

ZSCR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | Alm | False |
| HasDataObject | OpModRect | False |
| HasDataObject | CmdBlk | False |
| HasDataObject | AmpSpt | False |
| HasDataObject | VolSpt | False |
| HasDataObject | SetA | False |
| HasDataObject | SetV | False |

ENGRectifierControlModeKind (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataAttribute | setVal | False |

ZSMC (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | RotDir | False |
| HasDataObject | VARtg | False |
| HasDataObject | VRtg | False |
| HasDataObject | ARtg | False |
| HasDataObject | SpdRtg | False |
| HasDataObject | SpdCrit | False |
| HasDataObject | FldRisTmp | False |
| HasDataObject | StatRisTmp | False |
| HasDataObject | StatRis | False |
| HasDataObject | PFRtg | False |
| HasDataObject | Iner | False |
| HasDataObject | FldAmpRtg | False |
| HasDataObject | FldAmpRtgO | False |
| HasDataObject | FldRis | False |
| HasDataObject | BaseImp | False |
| HasDataObject | StatLeakX | False |
| HasDataObject | Xd | False |
| HasDataObject | Xdp | False |
| HasDataObject | Xds | False |
| HasDataObject | Xq | False |
| HasDataObject | Xqp | False |
| HasDataObject | Xqs | False |
| HasDataObject | X0 | False |
| HasDataObject | X2 | False |
| HasDataObject | TmTdp | False |
| HasDataObject | TmTds | False |
| HasDataObject | TmTd0p | False |
| HasDataObject | TmTd0s | False |
| HasDataObject | TmTqp | False |
| HasDataObject | TmTqs | False |
| HasDataObject | TmTq0p | False |
| HasDataObject | TmTq0s | False |
| HasDataObject | TmTa | False |
| HasDataObject | SatCffS10 | False |
| HasDataObject | SatCffS12 | False |

ZTCF (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |
| HasDataObject | PwrHz | False |

ZTCR (ObjectType)

IsAbstract: False

| Reference |  |  |
| --- | --- | --- |
| ReferenceType | TargetId | IsInverse |
| HasDataObject | EEName | False |
| HasDataObject | EEHealth | False |
| HasDataObject | OpTmh | False |